Network Video Alarm Panel

User’s Manual

Version 1.0.0

Table of Contents

1	FEATURES AND SPECIFICATIONS	1

1.1	Overview	1

1.2	Features	1

1.3	Specifications	2

2	INSTALLATION	6

2.1	Project Installation	6

2.2	Tamper Switch Installation	6

3	STRUCTURE	8

3.1	Mainboard	8

3.2	Remote Control	9

3.3	Connection Sample	9

3.3.1	Detector Cable Connection	9

3.3.2	Alarm Output Connection	10

3.3.3	Power Connection	11

4	OVERVIEW OF NAVIGATION AND CONTROLS	13

4.1	Login & Logout	13

4.1.1	Login	13

4.1.2	Logout	14

4.2	Live Viewing	14

4.3	Right-Click Menu	16

4.3.1	Window Switch	17

4.3.2	PTZ Control	17

4.3.3	Color	22

4.3.4	Alarm Clear	22

4.3.5	Arm/Disarm	22

4.3.6	Profile	22

4.3.7	Search	23

4.3.8	Record Control	23

4.3.9	Alarm Output	23

4.3.10	Main Menu	23

4.4	Main Menu	23

4.4.1	Alarm	23

4.4.1.1	Zone	24

4.4.1.2	Alarm	27

4.4.1.3	Arm/Disarm	30

4.4.1.4	Profile	31

4.4.1.5	Remote	31

4.4.1.6	Call Centre	32

4.4.1.7	Alarm Output	33

4.4.1.8	Bell Output	33

4.4.1.9	Abnormality	34

4.4.1.10	Zone Status	35

4.4.1.11	Emergency	36

4.4.2	Video	37

4.4.2.1	Encode	38

4.4.2.2	Detect	40

4.4.2.3	Search	45

4.4.2.4	Schedule	52

4.4.2.5	Redundancy	54

4.4.2.6	Record	58

4.4.2.7	Display	61

4.4.2.8	Broadcast	64

4.4.2.9	D/A Switch	65

4.4.3	Information	65

4.4.3.1	HDD	66

4.4.3.2	BPS	67

4.4.3.3	Log	68

4.4.3.4	Version	69

4.4.3.5	Online Users	69

4.4.3.6	Network	70

4.4.4	System	71

4.4.4.1	General	72

4.4.4.2	Network	74

4.4.4.3	Account	93

4.4.4.4	HDD Manager	96

4.4.4.5	Pan/Tilt/Zoom	101

4.4.4.6	Auto Maintenance	102

4.4.4.7	Config Backup	102

4.4.4.8	Default	103

4.4.4.9	Shutdown	104

5	WEB OPERATION	105

5.1	Network Connection	105

5.2	Login	105

5.3	LAN Mode	106

5.4	WAN Login	107

6	KEYBOARD OPERATION	108

6.1	Alarm Keyboard Operation Code	108

6.2	Alarm Keyboard Special Operations	108

6.2.1	Fire Event	108

6.2.2	Public Security Event	108

6.2.3	Medial Event	108

6.2.4	Search Device Mode	108

6.3	Alarm keyboard global mode	109

6.3.1	General Arm/Disarm	109

6.3.2	Hijacked arm/disarm	109

6.3.3	Keyboard Cancel Alarm	109

6.3.4	Alarm Output	109

6.3.5	Default	109

6.3.6	Go to Programming Mode	110

6.3.7	Exit Programming Mode	110

6.3.8	Go to System Search Mode	110

6.3.9	Exit System Search Mode	110

6.4	Alarm keyboard Programming Mode	110

6.4.1	Add/modify user	110

6.4.2	Delete User	111

6.4.3	Authorities	111

6.4.4	Local IP	112

6.4.5	Local Port	112

6.4.6	Subnet Mask	112

6.4.7	Gateway	113

6.5	Alarm Keyboard Search Mode	113

6.5.1	Search Alarm Input/Output Channel No.	113

6.5.2	Search Triggered Protection Zone	114

6.5.3	Search Channel Alarm Status	114

6.5.4	Search Channel Physical Map Address	115

6.5.5	Search Channel Bypass Status	115

6.5.6	Search system arm/disarm status	116

6.5.7	Search user amount	116

6.5.8	Search User Exists or not	116

6.5.9	Search port No.	117

6.5.10	Search IP address	117

6.5.11	Search Subnet Mask	118

6.5.12	Search Gateway	118

Appendix Toxic or Hazardous Materials or Elements	120

Welcome

Thank you for purchasing our network video alarm panel!

This quick start guide will help you become familiar with our network video alarm panel in a very short time.

Before installation and operation, please read the following safeguard and warning carefully!

Important Safeguard and Warning

1．Electrical safety

All installation and operation here should conform to your local electrical safety codes.

The product must be grounded to reduce the risk of electric shock.

We assume no liability or responsibility for all the fires or electric shock caused by improper handling or installation.

2．Transportation security

Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3．Installation

Keep upwards. Handle with care.

Do not apply power to the alarm panel before completing installation.

Do not place objects on the alarm panel.

4．Qualified engineers needed

All the examination and repair work should be done by the qualified service engineers.

We are not liable for any problems caused by unauthorized modifications or attempted repair.

5．Environment

The alarm panel should be installed in a cool, dry place away from direct sunlight, inflammable, explosive substances and etc.

This series product shall be transported, storage and used in the environment ranging from -10℃ to 55 ℃.

6.  Accessories

Be sure to use all the accessories recommended by manufacturer.

Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.

Before Start

About Alarm System

For the alarm system consists of the network alarm panel, though it has stable and reliable performance, it may become null in the following situations:

- The protection zone the intruder entering has not enabled the arm function or the intruder has enough knowledge to disable the system.

- The siren device installation position is not right; it does not have the warning function.

- The detector is null when there is an alarm outage and etc.

- The detector is not in the proper position and can not detect the corresponding zone.

- System can not generate an alarm when there is something wrong with the alarm signal transmission system (the service is disabled, there is malicious attack and etc).

- The device is null resulting from non-schedule maintenance of the alarm system.

About Installation Notice

- The installation engineers are recommended to check the system regularly such as once a month. It is to guarantee system long-term stable operation.

- The installation engineers are recommended to test the system regularly such as once a week.

- Please arrange some training classes for the end-user. It is to keep them familiar with the system.

System Test Notice

- After the installation, you can connect to the AC/DC power to test.

- You can test the all functions of the alarm panel after you complete all programming work.

# FEATURES AND SPECIFICATIONS

## Overview

This series product is a network video alarm panel of multiple functions. It integrates on-off alarm input and output, and digital video, analog video process at the same time. It supports protection zone alarm, wireless remote arm/disarm, keyboard arm/disarm, emergency alarm, video preview authority management, alarm can trigger pop-up video for you to recheck, video alarm and etc. It can be used in many environments such as bank, school, store, residential district. It can perfectly work with the alarm and surveillance solutions when there is an alarm operation and management platform.

## Features

This series product has the following features:

- 8-channel on-off alarm input.

- 4-channel on-off alarm output.

- 1-channel controlled siren (DC12V 500MA) output.

- Local max supports 8-channel video input (960H) or max 8-channel digital video input (720P), support dual streams.

- Support video preview right management.

- Protection alarm can trigger real-time video for you to recheck alarm status.

- Motion detect, video loss, video tampering function.

- The protection alarm can trigger alarm output, siren output.

- Support various resolutions such as 960H/D1/HD1/2CIF/CIF/QCIF, support customized frame rate and bit stream setup.

- Support two 4T HDDs, support local record storage and playback.

- Support ContactID alarm output, support reuse the phone.

- Support device tamper switch alarm prompt.

- Support one installer user, one main user and 98 operation users.

- Three data transmission modes: network transmission, 3G transmission, phone cable transmission.

- 1024 CID report buffer.

- 5000 alarm event record with date information.

- 16 alarm programming LED keyboard.

- 8 wireless remote control arm/disarm and emergency alarm.

- 2 RS485 ports: 1 channel supports PTZ and the other channel supports alarm programming keyboard.

- 1-channel 12V 2A assistant power output.

- External assistant power (Standard accumulator), auto recharge control, power off protection, monitor real-time voltage.

- Main/assistant power auto switch.

- Support firmware update.

## Specifications

|  | Parameter |  |
| --- | --- | --- |
| System | Main Processor | High-performance industrial embedded micro controller |
|  | OS | Embedded LINUX |
|  | System Resources | Multiplex operations: Multiple-channel record, multiple-channel playback and network operation simultaneously |
|  | Interface | User-friendly graphical user interface |
|  | Input Devices | Mouse/special keyboard |
|  | Input Method | Arabic number, English character, donation and extension Chinese (optional) |
|  | Shortcut Function | Copy/paste operation, USB mouse right-key shortcut menu, double click USB mouse to switch screen. |
| Alarm | Alarm Input | 8-channel (NO/NC) alarm local input. Can trigger local or extend alarm output, trigger screen message, alarm upload, email, record channel, PTZ and etc. |
|  | Alarm Output | 4-channel relay output (24VDC，2A) |
|  | Wireless Remote Control | 433MHz wireless remote to arm/disarm/home/out mode. |
|  | Programming Keyboard | Support programming keyboard to arm/disarm/search/cancel alarm function and etc. |
| Compression Standard | Video Compression | H.264 |
|  | Audio Compression | G711A, G711U, PCM |
| Video monitor | Video Input | 8-CH composite video input: (NTSC/PAL) BNC (1.0VBP- P, B75Ω) or, 4-CH composite video input: (NTSC/PAL) BNC (1.0VBP- P, B75Ω) and 4-CH 720P digital input or, 8-CH 720P digital channel. |
|  | Video Output | 1-ch PAL/NTSC, BNC (1.0VP- P, 75Ω) composite video signal output. 1-ch VGA output. 1-ch HDMI output. |
|  | Video Standard | Support PAL/NTSC. |
|  | Record Speed | Real-time Mode: PAL 1f/s to 25f/s per channel and NTSC 1f/s to 30f/s per channel |
|  | Monitor Touring | Support monitor tour functions such as alarm, motion detection, and schedule auto control. |
|  | Resolution (PAL/NTSC) | PAL/NTSC Real-time monitor： 960H：960*576/960*480 D1：704*576/704*480 |
|  |  | Playback： 960H 960*576/960*480, D1 704×576/704×480 , HD1 352×576/352×480, 2CIF 704×288/704×240, CIF 352×288/ 352×240 , QCIF 176×144/176×120 |
|  |  | Support dual streams: extra stream resolution CIF 352×288/ 352×240, QCIF 176×144/176×120. |
|  | Image Quality | 6-level image quality (Adjustable) |
|  | Privacy mask | Support one privacy mask of user-defined size in full screen. Support max 4 zones. |
|  | Image Information | Channel information, time information and privacy mask zone. |
|  | TV Adjust | Adjust TV output zone suitable to anamorphic video. |
|  | Channel Lock | Cover secret channel with black screen though system is encoding normally. Screen-lock function to prevent unauthorized user seeing secret video. |
|  | Channel Information | Channel name, recording status, screen lock status, video loss status and motion detection status are shown on the bottom left of display screen. |
|  | Color Configuration | Hue, brightness, contrast, saturation and gain setup for each channel. |
| Motion Detection and Alarm | Motion Detection | Zone setup: support 396/330((PAL 22×18, NTSC 22×15)) detection zones. Various sensitivity levels. Alarm can activate record or external alarm or screen message prompt. |
|  | Video Loss | Alarm can activate external alarm or screen message prompt. |
|  | Camera masking | Alarm can activate external alarm or screen message prompt. |
| Audio | Audio Input | 4-ch audio input 200-1000mv 10KΩ(BNC) |
|  | Audio Output | 1-ch audio output 200-3000mv 5KΩ（BNC） |
|  | Bidirectional Audio | 1-ch bidirectional talk input 200-3000mv 10KΩ（BNC） 1-ch bidirectional talk output 200-3000mv 5KΩ（BNC） |
| Hard disk | Hard Disk | 2 built-in SATA port. Support 2 HDDs. |
|  | Hard Disk Occupation | Audio：PCM 28.8MByte/h Video：56-900MByte/h |
|  | HDD Management | Non-working HDD hibernation function. It is for HDD ventilation, and it is to lower the power consumption and extend HDD life span. |
| Record and playback | Recording Mode | Manual recording, motion detection recording, schedule recording and alarm recording Priority: Manual recording> alarm recording>motion detection recording>schedule recording. |
|  | Storage Mode | Support channel record quota setup |
|  | Recording Length | 1 to 120 minutes single record duration (Default setup is 60 minutes) |
|  | Playback Repeat Way | When hard disk is full, system can overwrite previous video file. |
|  | Record Search | Various search engines such as time, type and channel. |
|  | Playback Mode | Various fast play, slow play speeds, manual frame by frame playback and reverse play mode. |
|  | Various File Switch Ways | Can switch to previous or next file or any file in current play list. Can switch to file on other channel of the same time. (If there is a file) Support file continuous play, when a file is end system auto plays the next file in the current channel |
|  | Playback Way | Support mark playback |
|  | Multi-channel Playback | There is 1/4/9-channel playback mode. |
|  | Window Zoom | Switch between self-adaptive screen/full screen when playback |
|  | Partial Enlargement | When in one-window full-screen playback mode, you can select any zone to activate partial enlargement function. |
| Backup function | Backup Mode | HDD backup |
|  |  | Support peripheral USB backup device. (Flash disk, portable disk, USB burner and etc.) |
|  |  | Support network download and save |
| Network Function | Network control | View monitor channel remotely. |
|  |  | DVR configuration through client-end and web browser |
|  |  | Upgrade via client or browser to realize remote maintenance. |
|  |  | View alarm information such as external alarm, motion detection and video loss via client. |
|  |  | Support network PTZ lens control |
|  |  | File download backup and playback |
|  |  | Multiple devices share information via corresponding software such as professional surveillance software (PSS) |
|  |  | Duplex transparent COM |
|  |  | Network alarm input and output |
|  |  | Support network multiple-window preview function |
|  |  | Bidirectional audio. |
|  | 3G Network | Support CDMA/3G network |
| Interface | USB Interface | 1 USB 2.0 port. |
|  | Network connection | 1 RJ45 10M/100M/1000M self-adaptable Ethernet port |
|  | RS485 | Three groups of RS 485 ports. A1B1: PTZ control port. Support various protocols. A2B2: N/A A3B3: Programming keyboard port. Support DH-Alarm protocol. |
|  | Phone port | 1 RJ11 port. |
|  | DC +12V | 1-channel +12V DC |
| System Information | Hard Disk Information | Display HDD current status |
|  | Data Stream Statistics | Data stream statistics for each channel (in wave mode) |
|  | Log statistics | Backup to 5000 log files. Support various search engines such as time and type. |
|  | Version | Display version information: channel amount, alarm input and output amount, system version and release date. |
|  | On-line user | Display current on-line user |
| User Management | User Management | Multi-lever user management; various management modes Integrated management for local user, serial port user and network user. Configurable user power. |
|  |  | Support user /group and its corresponding rights modification. No limit to the user or group amount. |
|  | Password Authentication | Password modification Administrator can modify other user’s password. |
|  |  | Account lock strategy Five times login failure in thirty minutes may result in account lock. |
| Upgrade | Client and update tool. |
| Login, Logout and Shutdown | Password login protection to guarantee safety |
|  | User-friendly interface when login. Provide the following options: Logout /shutdown/ restart. |
|  | Right authentication when shut down to make sure only those proper people can turn off DVR |
| General Parameter | Power | AC220V/1A，50Hz～60Hz |
|  | UPS | +12V 7AH lea-acid battery. Rechargeable |
|  | Power Consumption (+3W) | 15-22W (Exclude HDD) |
|  | Working Temperature | -10℃－＋55℃ |
|  | Working Humidity | 10%－90% |
|  | Air Pressure | 86kpa－106kpa |
|  | Dimension （mm） | 350(L) ×350(W) ×93(H) |
|  | Weight | 5.5KG(Exclude HDD) |
|  | Installation Mode | Wall mount |

# INSTALLATION

## Project Installation

This series product supports wall mount installation. Please refer to the steps listed below.

- Open the device package and then take out the plastic expansion bolts and self-tapping screw.

- Please refer to Figure 2-1 to dig five holes in the wall.

- Input four expansion bolts and then insert four self-tapping screws. DO NOT INSERT THE BOLT TO THE MIDDLE HOLE.

- Put the device on the screws and then insert the last self-tapping screw at the middle hole.

Figure 2-1

## Tamper Switch Installation

Before the installation, please prepare the accessories. It includes: tamper switch, three screws and three nuts.

Open the cover of the device; secure the tamper switch on the device. See Figure 2-2.

Figure 2-2

Insert the tamper switch to the main board. See Figure 2-3.

Figure 2-3

# STRUCTURE

## Mainboard

The interface is shown as in Figure 3-1.

Figure 3-1

Please refer to the following sheet for detailed information.

| SN | Name | Function |
| --- | --- | --- |
| 1 | SATA HDD Port | Support SATA HDD |
| 2 | Alarm input port | 8-channel alarm input. G is the public end. Z1～Z8 is protection zone input. |
| 3 | Alarm output port | 4-channel alarm output |
| 4 | RS485 port | A1B1 connect to the PTZ. A3B3 +12V G connect to the alarm programming keyboard. |
| 5 | Siren port | Connect to siren. |
| 6 | Accumulator port | Connect to 12V DC 7AH，Lead-acid accumulator. |
| 7 | Video input port | 8-channel video input. |
| 8 | Video output port | BNC video output. |
| 9 | Audio input port | 4-channel audio input. |
| 10 | Bidirectional talk port | Bidirectional talk. |
| 11 | Audio output port | BNC audio output. Bidirectional talk output. |
| 12 | Tamper switch | Connect to tamper switch |
| 13 | HDMI port | HDMI port. Connect to LCD and etc. |
| 14 | VGA port | Connect to VGA monitor |
| 15 | LAN | Ethernet port. |
| 16 | USB port | Support mouse. |
| 17 | 433 module | Connect to wireless alarm module. |
| 18 | User cable port/phone port | Connect to user cable and phone. |
| 19 | 3G card slot | Support 3G module |
| 20 | SIM card slot | Support SIM card |
| 21 | Power socket | Power supplying |

## Remote Control

The remote control is shown as below. See Figure 3-2.

Figure 3-2

## Connection Sample

### Detector Cable Connection

Please refer to Figure 3-3 for alarm input port information.

Figure 3-3

Please refer to the following figure for detector connection information. See Figure 3-4.

Figure 3-4

### Alarm Output Connection

Alarm output cable connection is shown as below. See Figure 3-5

Figure 3-5

Trigger output cable connection information is shown as in Figure 3-6.

Figure 3-6

### Power Connection

Accumulator and DC power connection is shown as below. See Figure 3-7.

Figure 3-7

Note

Replace the accumulator for each 3 or 5 years (recommended).

# OVERVIEW OF NAVIGATION AND CONTROLS

Before operation, please make sure:

- You have properly installed HDD and connect all the necessary cables.

- The provided input power and the device power are matched.

- Always use the stable current, if necessary UPS is a best alternative measure.

## Login & Logout

### Login

After system booted up, system pops up the startup wizard.

Click the Cancel button; you can go to the system login interface.

Click the Next Step button; after you login, you can go to the startup wizard interface. Here you can set the system basic information. See Figure 4-1.

Figure 4-1

The system login interface is shown as in Figure 4-2.

System consists of four accounts:

- Username: admin.  Password: admin. (administrator, local and network)

- Username: 888888. Password: 888888. (administrator, local only)

- Username: 666666. Password: 666666(Lower authority user who can only monitor, playback, backup and etc.)

- Username: default. Password: default(hidden user)

You can use USB mouse, front panel, remote control (not included in the accessory bag) or keyboard to input. About input method: Click  to switch between numeral, English character (small/capitalized) and denotation.

Note:

For security reason, please modify password after you first login.

Continuous three times login failure will result in system alarm and six times login failure will result in account lock!

Figure 4-2

### Logout

In the main menu, click shutdown button, you can see an interface is shown as below. See Figure 4-3.

Figure 4-3

There are several options for you. See Figure 4-4.

Figure 4-4

## Live Viewing

After you logged in, the system is in live viewing mode. You can see system date, time and channel name. If you want to change system date and time, you can refer to general settings (Main Menu->Setting->General). If you want to modify the channel name, please refer to the display settings (Main Menu->Setting->Display)

| 1 |  | Recording status | 3 |  | Video loss |
| --- | --- | --- | --- | --- | --- |
| 2 |  | Motion detection | 4 |  | Camera lock |

Tips

- Preview drag: If you want to change position of channel 1 and channel 16 when you are previewing, you can left click mouse in the channel 1 and then drag to channel 16, release mouse you can switch channel 1 and channel 16 positions.

- Use mouse middle button to control window split: You can use mouse middle button to switch window split amount.

Preview Control

The preview control function has the following features.

- Support preview playback.

  - In the preview desktop, system can playback previous 5-60 minutes record of current channel. Please go to the Main Menu->General to set real-time playback time.

  - Support drag and play function. You can use your mouse to select any playback start time.

  - Support playback, pause and exit function.

  - Right now, system does not support slow playback and backward playback function.

- Support digital zoom function.

- Support real-time backup function.

You can follow the contents listed below for the operation instruction.

Preview control interface

Move you mouse to the top centre of the video of current channel, you can see system pops up the preview control interface. See Figure 4-5. If your mouse stays in this area for more than 6 seconds and has no operation, the control bar automatically hides.

Figure 4-5

You can refer to the following sheet for detailed information.

| SN | Name | Function |
| --- | --- | --- |
| 1 | Realtime playback | It is to playback the previous 5-60 minutes record of current channel. Please go to the Main Menu->General to set real-time playback time. System may pop up a dialogue box if there is no such record in current channel. |
| 2 | Digital zoom | It is to zoom in specified zone of current channel. It supports zoom in function of multiple-channel. The selected area has an icon as and the free area is shown as an icon as. Left click mouse and drag it to select a zone, release mouse you can zoom in the selected zone. After you zoom in the zone, you can left click mouse and then drag to realize browse function. During the zoom in status, click icon to cancel selection, you can lick current zoom in zone. Now you can not drag in this zone. |
| 3 | Real-time backup function | It is to backup the video of current channel to the USB device. System can not backup the video of multiple-channel at the same time. Current selected backup channel has an icon as and the free channel is shown as an icon as . Once the backup started, you can see the free channel is shown as an icon as . |
| 4 | Remote device | It is to go to the remote device connection interface. Please refer to Shortcut menu to add remote device for detailed information. |
| 5 | Bidirectional talk | If the connected front-end device supports bidirectional talk function, you can see this button is shown as. Otherwise, it is shown as if connected devices do not support bidirectional function. Now the digital channel icon is shown as, the rest bidirectional talk buttons of digital channel becomes null too and the icons are shown as. Click again, you can cancel bidirectional talk and the bidirectional talk buttons of other digital channels becomes. |
| 6 | Close | Click it to close current interface. |

Playback control

The playback control has the following features.

- Support play, pause, and exit and drag function.

- During the preview playback process, you can not see the channel title and record status of current channel. It will display the channel title and the record status once you exit the preview playback.

- During the preview playback, you can not switch the displayed channel or change current window-display mode.

- Please note the tour function has the higher priority than the preview playback. You can not control the preview playback until the tour function ended or paused.

## Right-Click Menu

On the preview interface, right click mouse, you can view menu interface shown as in Figure 4-6.

Figure 4-6

### Window Switch

System supports 1/4/8/9-window. You can select from the dropdown list. See Figure 4-7.

Figure 4-7

### PTZ Control

Note: All the operations here are based on PELCOD protocol. For other protocols, there might be a little difference.

Cable Connection

Please follow the procedures below to go on cable connection

- Connect the dome RS485 port to device 485 port.

- Connect dome video output cable to device video input port.

- Connect power adapter to the dome.

PTZ Setup

Note: The camera video should be in the current screen. Before setup, please check the following connections are right:

- PTZ and decoder connection is right. Decoder address setup is right.

- Decoder A (B) line connects with ATM A (B) line.

Boot up the ATM, input user name and password.

In the main menu, click setting, and then click Pan/Tilt Control button. The interface is shown as in Figure 4-8. Here you can set the following items:

- Device: Please select from the dropdown list. It includes: PTZ/Alarm keyboard/alarm module.

- Channel: Select the current camera channel.

- Protocol: Select corresponding PTZ protocol(such as PELCOD)

- Address: Default address is 1.

- Baud rate: Select corresponding baud rate. Default value is 9600.

- Data bit: Select corresponding data bits. Default value is 8.

- Stop bit: Select corresponding stop bits. Default value is 1.

- Parity: There are three options: odd/even/none. Default setup is none.

Figure 4-8

After completing all the setting please click save button.

The PTZ setup is shown as in Figure 4-9.

Please note the commend name is grey once device does not support this function.

Double click the title to hide the PTZ menu interface.

Here you can control PTZ direction, speed, zoom, focus, iris, preset, tour, scan, pattern aux function, light and wiper, rotation and etc.

Speed is to control PTZ movement speed. The value ranges from 1 to 8.The speed 8 is faster than speed 1. You can use the remote control to click the small keyboard to set.

You can click  and  of the zoom, focus and iris to zoom in/out, definition and brightness.

The PTZ rotation supports 8 directions.

Figure 4-9

In the middle of the eight direction arrows, there is a 3D intelligent positioning key. See Figure 4-10.X Please make sure your protocol supports this function and you need to use mouse to control.

Click this key, system goes back to the single screen mode. Drag the mouse in the screen to adjust section size. The dragged zone supports 4X to 16X speeds. Drag the mouse from top to the bottom to zoom in. Drag the mouse from bottom to up to zoom out.  It can realize PTZ automatically. The smaller zone you dragged, the higher the speed.

Figure 4-10

Here is a sheet for you reference.

| Name | Function key | function | Function key | function |
| --- | --- | --- | --- | --- |
| Zoom |  | Near |  | Far |
| Focus |  | Near |  | Far |
| Iris |  | close |  | Open |

Preset/ Patrol/Pattern/Scan

In Figure 4-9, please click the “set” button. The interface is shown as below. See Figure 4-11.

Here you can set the following items:

- Preset

- Tour

- Pattern

- Border

Figure 4-11

In X328H328H328H Figure 4-9, click page switch button, the interface is shown as in Figure 4-12.

Here you can activate the following functions:

- Preset

- Tour

- Pattern

- Auto scan

- Auto pan

- Flip

- Reset

- Page switch

Figure 4-12

Note:

- Preset, tour and pattern all need the value to be the control parameter. You can define it as you require.

- You need to refer to your speed dome user’s manual for Aux definition. In some cases, it can be used for special process.

- The following setups are usually operated in the Figure 4-9, Figure 4-11 and Figure 4-12.

Preset Setup

In Figure 4-9, use eight direction arrows to adjust camera to the proper position.

In Figure 4-11, click preset button and input preset number. The interface is shown as in Figure 4-13.

Now you can add this preset to one tour.

Figure 4-13

Activate Preset

In Figure 4-12, please input preset number in the No. blank, and click preset button.

Patrol setup (Tour Setup)

In Figure 4-11, click patrol button. The interface is shown as in Figure 4-14. Input preset number and add this preset to a patrol (tour). For each patrol (tour), you can input max 80 presets.

Figure 4-14

Activate Patrol (tour)

In X341H341H341HFigure 4-11, input patrol (tour) number in the No. blank and click patrol button

Pattern Setup

In Figure 4-11, click pattern button and then click “begin” button. The interface is shown as in Figure 4-15. Then you can go to Figure 4-9  to modify zoom, focus, and iris.

Go back to Figure 4-15 and click “end” button. You can memorize all these operations as pattern 1.

Figure 4-15

Activate Pattern Function

In Figure 4-12, input mode value in the No. blank, and click pattern button.

Auto Scan Setup

In Figure 4-13, click border button. The interface is shown as in Figure 4-16.

Please go to Figure 4-9, use direction arrows to select camera left limit

Then please go to Figure 4-16 and click left limit button

Repeat the above procedures to set right limit.

Figure 4-16

Activate Auto Scan

In Figure 4-12, click “Auto Scan” button, the system begins auto scan. Correspondingly, the auto scan button becomes Stop button. Click stop button to terminate scan operation.

Flip

In Figure 4-12, click page switch button, you can see an interface is shown as below. See Figure 4-17. Here you can set auxiliary function. The aux value has relation ship with the Aux button of the decoder.

Click page switch button again, system goes back to Figure 4-9.

Figure 4-17

### Color

Here you can set hue, brightness, contrast, saturation, gain, white level, color mode and etc. See Figure 4-18.

Figure 4-18

### Alarm Clear

Please refer to chapter 4.4.1.10 for detailed information.

### Arm/Disarm

Please refer to chapter 4.4.1.2 for detailed information.

### Profile

Please refer to chapter 4.4.1.4 for detailed information.

### Search

Please refer to chapter 4.4.2.3 for detailed information.

### Record Control

Please refer to chapter 4.4.2.6 for detailed information.

### Alarm Output

Please refer to chapter 4.4.1.7 for detailed information.

### Main Menu

Click it to go to the main menu interface.

Please refer to chapter 4.4 for detailed information.

## Main Menu

On the preview interface, right click mouse and then select main menu, you can go to the following interface. See Figure 4-19. It includes four buttons: Alarm, video, info, system.

Tips

Right click mouse to go back to the previous interface.

Figure 4-19

### Alarm

The alarm interface includes the following items. See Figure 4-20.

It includes ten buttons: zone, alarm, arm/disarm, profile, remote, call centre, alarm output, bell output, abnormality, zone status, and emergency.

Figure 4-20

#### Zone

From main menu->Alarm->Zone, you can go to the zone interface.

It is to set protection zone and its corresponding alarm trigger operation. See Figure 4-21.

- Zone No. Please select a zone number from the dropdown list.

- Zone name: Please input customized setup.

- Type: Click settings button, you can see there are three types: realtime zone, delay zone, 24-H zone.

  - Realtime zone: On the arm status, once the detector connected to the zone is trigged, the alarm panel can generate an alarm immediately. There is no delay time.

  - Delay zone: Please set two parameters: Enter delay and Exit delay.

  - In the entry delay mode, there is no trigger operation after the alarm is trigged for M seconds (M refers to the in delay value you set here). You can disarm during the M seconds. If you do not disarm, the protection zone is activated after M seconds. For example: after you enabled arm status and then set the in delay is 10s. System only enables link alarm after the alarm occurred for 10 seconds no matter the alarm has disappeared or still exists.

  - Exit delay: After you enable arm status, the arm operation becomes valid after N seconds (N refers to the exit delay value you set here). During the N seconds period, the alarm link operation is null. For example, after you enable out delay time 15s, there is no alarm link event during the first 15 seconds until the 15-second countdown ends.

  - 24-H zone: The detector of current protection zone is armed for all the 24-H, no matter it is armed or disarmed. But you can arm/disarm manually. There is no arm period setup and the arm button on the front panel is null. You can only set on the menu interface.

- PTZ activation: When an alarm occurred, system can activate the PTZ operation. The PTZ activation lasts an anti-dither period.

  - In the Pan/Tilt/Zoom interface (Main menu->Setting-> Pan/Tilt/Zoom), please set video channel, speed dome protocol and etc.

  - Select the channel of current speed dome as current monitor video and the right click mouse to select Pan/Tilt/Zoom item. Now you can set preset, tour pattern.

  - In Figure 4-21, click “setup” button, you can see an interface is shown as in Figure 4-22. Here you can set the activation operation such as preset tour, pattern and enable.

- Period: Click setup button, you can see an interface is shown as in Figure 4-23. Here you can set for business day and non-business day. In Figure 4-23, click set button, you can see an interface is shown as in Figure 4-24. Here you can set your own setup for business day and non-business day.

- Alarm output: when an alarm occurs, system enables peripheral alarm devices.

- Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when an alarm occurs.

- Record channel: System auto activates corresponding channel(s) to record once an alarm occurs.

- Record Delay: System can delay the record for specified time after alarm ended.

- Tour: Here you can enable tour function when an alarm occurs. You can see the pop-up video when an alarm occurs so that you can check the alarm status again.

- Snapshot: You can enable this function to snapshoot image when an alarm occurs.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.

- Snapshot:

- Audio broadcast: System triggers audio function when generating an alarm.

- Output port: It is to set output port. The default setup is talk port.

- Call centre: System can upload the alarm to the call centre when an alarm occurs.

- Siren output control: System triggers siren when an alarm occurs.

Figure 4-21

Figure 4-22

Figure 4-23

Figure 4-24

#### Alarm

Before operation, please make sure you have properly connected alarm devices such as buzzer.

In the main menu, from Setting to Alarm, you can see alarm setup interface. See Figure 4-25.

- Alarm in: Here is for you to select channel number.

- Event type: There are two types. One is local input and the other is network input.

- Type: normal open or normal close.

- PTZ activation: When an alarm occurred, system can activate the PTZ operation. The PTZ activation lasts an anti-dither period.

  - In the Pan/Tilt/Zoom interface (Main menu->Setting-> Pan/Tilt/Zoom), please set video channel, speed dome protocol and etc.

  - Select the channel of current speed dome as current monitor video and the right click mouse to select Pan/Tilt/Zoom item. Now you can set preset, tour pattern.

  - In Figure 4-25, click “select” button, you can see an interface is shown as in Figure 4-22. Here you can set the activation operation such as preset tour, pattern and enable.

- Period: Click set button, you can see an interface is shown as in Figure 4-23. Here you can set for business day and non-business day. In Figure 4-23, click set button, you can see an interface is shown as in Figure 4-24. Here you can set your own setup for business day and non-business day.

- Anti-dither: Here you can set anti-dither time. The value ranges from 5 to 600s. The anti-dither time refers to the alarm signal lasts time. It can be seem as the alarm signal activation stays such as the buzzer, tour, PTZ activation, snapshot, channel record.  The stay time here does not include the latch time. During the alarm process, the alarm signal can begin an anti-dither time if system detects the local alarm again. The screen prompt, alarm upload, email and etc will not be activated. For example, if you set the anti-dither time as 10 second, you can see the each activation may last 10s if the local alarm is activated. During the process, if system detects another local alarm signal at the fifth second, the buzzer, tour, PTZ　activation, snapshot, record channel will begin another 10s while the screen prompt, alarm upload, email will not be activated again. After 10s, if system detects another alarm signal, it can generate an alarm since the anti-dither time is out.

- Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when an alarm occurs.

- Record channel: you can select proper channel to record alarm video (Multiple choices).

  - You need to set alarm record mode as Schedule in Record interface (Main Menu->Video->Record). Please note the manual record has the highest priority. System record all the time no matter there is an alarm or not if you select Manual mode.

  - Now you can go to the Schedule interface (Main Menu->Video->Schedule) to set the record type, corresponding channel number, week and date. You can select the record type:Regular/MD/Alarm/MD&Alarm. Please note, you can not select the MD&Alarm and MD(or Alarm) at the same time.

  - Now you can go to the Encode interface to select the alarm record and set the encode parameter (Main Menu->Video->Encode).

  - Finally, you can set the alarm input as the local alarm and then select the record channel. The select channel begins alarm record when an alarm occurred. Please note system begins the alarm record instead of the MD record if the local alarm and MD event occurred at the same time.

- Latch: When the anti-dither time ended, the channel alarm you select in the alarm output may last the specified period. The value ranges from 1 to 300 seconds. This function is not for other alarm activation operations. The latch is still valid even you disable the alarm event function directly.  .

- Tour: Here you can enable tour function when an alarm occurs.  System supports one-window tour. Please go to chapter 4.4.2.7 Display for tour interval setup. Please note the tour setup here has higher priority than the tour function in the Display interface (chapter 4.4.2.7). If these two tour functions are valid at the same time, system enables alarm tour once an alarm occurs. System enables tour according to tour function in chapter 4.4.2.7 if there is no alarm.

- Snapshot: You can enable this function to snapshoot image when an alarm occurs.

- Video matrix: Check the box to enable this function. The video matrix output can display the alarm video of current channel when there is an alarm signal.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.

- Snapshot: For snapshot operation, please refer to chapter 4.4.2.5.1.

- Audio broadcast: System triggers audio function when generating an alarm.

- Output port: It is to set output port: speaker/MIC output port.

- Siren output control: System triggers siren when an alarm occurs.

Note: The network alarm means the alarm signal from the TCP/IP. You can enable the network alarm function via the net SDK. The network alarm does not have the device type; anti-dither and alarm upload function. The rest items are the same.

Please highlight icon  to select the corresponding function. After setting all the setups please click save button, system goes back to the previous menu.

Figure 4-25

Figure 4-26

Figure 4-27

Figure 4-28

#### Arm/Disarm

The arm/disarm interface is shown as below. See Figure 4-29. Here you can arm or disarm a channel/all channels.

- Arm all: Check the box here to arm all protection zones.

- Disarm all: Check the box here to disarm all protection zones.

- Normal/bypass: Check the box, the status is shown as normal. Cancel the box, the status is shown as bypass.

Figure 4-29

#### Profile

The profile interface is shown as below. See Figure 4-30.

Please highlight the corresponding box to select a mode and then select profile mode(Outdoor/home) form the dropdown list.

Click Save button to save current setup.

Figure 4-30

#### Remote

The alarm remote interface is shown as below. See Figure 4-31.

- Wireless ID: It refers to the wireless ID of the remote control.

- User name: It is the user name of the remote control.

- Modify: It is to change remote control status. Y means current remote control is valid. N means it is null now.

- Delete: It is to delete the registered remote control.

- Status: It is to display remote control status. Y means current remote control is valid. N means it is null now.

Click wireless code button at the bottom of the interface to search remote controls. Follow the dialogue box to click any button of the remote control to connect. After successful connection, you can change the registered remote control information.

Figure 4-31

#### Call Centre

The interface is shown as in Figure 4-32.

- Phone groups: System max supports 2 groups.

- Centre name: Input customized centre name.

- Centre No.: Input call centre number.

- Protocol type: The default setup is CID.

- Signal transmission mode: The default setup is DTMF5/S.

- Dial time: Once the call centre did not pick up the phone, you can set dial times here. The value ranges from 1 to 5.

- Dial delay: It is the dial interval between two times.

- Account: It is the user code provided by the call centre. The default setup is 0000.

Figure 4-32

#### Alarm Output

Here is for you to set proper alarm output.

Please highlight icon  to select the corresponding alarm output.

After all the setups please click OK button, system goes back to the previous menu. See Figure 4-33.

Figure 4-33

#### Bell Output

Here is for you to set siren output last time. See Figure 4-34.

Figure 4-34

#### Abnormality

Abnormality interface is shown as in Figure 4-35.

- Event type: There are several options for you such as disk error, no disk, disconnection, IP conflict, MAC conflict and etc.

- Less than: Please input HDD space threshold value here (For disk no space type only).

- Alarm output: Please select alarm activation output port (multiple choices).

- Latch: Here you can set corresponding delaying time. The value ranges from 10s-300s. System automatically delays specified seconds in turning off alarm and activated output after external alarm cancelled.

- Show message: system can pop up the message in the local screen to alert you when an alarm occurs.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when an alarm occurs.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.

- Audio broadcast: System triggers audio function when generating an alarm.

- Output port: It is to set output port: speaker/MIC output port.

- Siren output control: System triggers siren when an alarm occurs.

Figure 4-35

Figure 4-36

#### Zone Status

Here is for you to view protection zone status. See Figure 4-85.

- For the first dropdown list, you can select module. It includes local module, extension module and all.

- For the second dropdown list, you can select corresponding alarm.

- Confirm: Select a channel or alarm and then click it to cancel an alarm.

Figure 4-37

#### Emergency

Here is for you to set emergency alarm. See Figure 4-38.

- Channel: Select alarm channel from the dropdown list. It includes: fire alarm, hijack alarm, rob alarm, medial alarm, and remote control alarm.

- Enable: Check the box here to enable emergency alarm function.

- Alarm Upload: It is to upload the alarm signal to the network when an alarm occurs.

- Bell output: It is to enable siren output when an alarm occurs.

- Call cell: It is to upload alarm to the call centre when an alarm occurs.

Figure 4-38

### Video

The video interface is shown as below. See Figure 4-39.

It has 8 buttons: encode, detect, search, schedule, record, display, broadcast, D/A switch.

Figure 4-39

#### Encode

Encode setting includes the following items. See Figure 4-40.

Please note some series do not support extra stream.

- Channel: Select the channel you want.

- Type: Please select from the dropdown list. There are three options: regular/motion detect/alarm. You can set the various encode parameters for different record types.

- Compression: System supports H.264.

- Resolution: For analog channel, system supports various resolutions, you can select from the dropdown list. The main stream supports 960H/D1/HD1/2CIF/CIF/QCIF and the extra stream supports CIF/QCIF.

- Bit rate type: System supports two types: CBR and VBR. In VBR mode, you can set video quality.

- Quality: There are six levels ranging from 1 to 6. The sixth level has the highest image quality.

- Video/audio: You can enable or disable the video/audio.

- Overlay: Click overlay button, you can see an interface is shown in Figure 4-41.

- Cover area (Privacy mask): Here is for you to set privacy mask section. You can drag you mouse to set proper section size. In one channel video, system max supports 4 zones in one channel.

- Preview/monitor: privacy mask has two types. Preview and Monitor. Preview means the privacy mask zone can not be viewed by user when system is in preview status. Monitor means the privacy mask zone can not be view by the user when system is in monitor status.

- Time display: You can select system displays time or not when you playback. Please click set button and then drag the title to the corresponding position in the screen.

- Channel display: You can select system displays channel number or not when you playback. Please click set button and then drag the title to the corresponding position in the screen.

- Copy：After you complete the setup, you can click Copy button to copy current setup to other channel(s). You can see an interface is shown as in Figure 4-42. You can see current channel number is grey. Please check the number to select the channel or you can check the box ALL. Please click the OK button in Figure 4-42 and Figure 4-40 respectively to complete the setup. Please note, once you check the All box, you set same encode setup for all channels. Audio/video enable box, overlay button and the copy button is shield. See Figure 4-43.

Please highlight icon  to select the corresponding function.

Figure 4-40

Figure 4-41

Figure 4-42

Figure 4-43

#### Detect

In the main menu, from Setting to Detect, you can see motion detect interface. See Figure 4-44.There is three detection types: motion detection, video loss, camera masking.

- The video loss has no detection region and sensitivity setup and camera masking has no detection region setup.

- You can see motion detect icon if current channel has enabled motion detect alarm.

- You can drag you mouse to set motion detect region without Fn button. Please click OK button to save current region setup. Right click mouse to exit current interface.

##### Motion Detect

Detection menu is shown as below. See Figure 4-44

- Event type: From the dropdown list you can select motion detection type.

- Channel: Select a channel from the dropdown list to set motion detect function.

- Enable: Check the box here to enable motion detect function.

- Region: Click select button, the interface is shown as in Figure 4-45.  Here you can set motion detection zone. There are 396(PAL)/330(NTSC) small zones. Blue zone is the motion detection zone. White zone is the disarmed zone. System can only detect motion detect signal from the arm region. You can click Fn button to switch between the arm mode and disarm mode.  In arm mode, you can click the direction buttons to move the green rectangle to set the motion detection zone. After you completed the setup, please click ENTER button to exit current setup. Do remember click save button to save current setup. If you click ESC button to exit the region setup interface system will not save your zone setup.

- Sensitivity: System supports 6 levels. The sixth level has the highest sensitivity.

- Period: Click set button, you can see an interface is shown as in Figure 4-47.Here you can set motion detect period. System only enables motion detect operation in the specified periods. It is not for video loss or the camera masking. Please select Sunday to Saturday from the dropdown list. You can see there are six periods for you to set. Please note you need to check the box before the period to enable the period setup valid. In Figure 4-47, select work day or non-work day from the drop down list, and then click the Set button, you can set your own business day and non-business day setup. See Figure 4-48. You can set Monday to Friday as the working day and Saturday and Sunday as non-business day. Click Save button to go back to previous interface.

- Anti-dither: System only memorizes one event during the anti-dither period. The value ranges from 5s to 600s.

- Alarm output: when an alarm occurs, system enables peripheral alarm devices.

- Latch: when motion detection complete, system auto delays detecting for a specified time. The value ranges from 1-300(Unit: second)

- Show message: System can pop up a message to alarm you in the local host screen if you enabled this function.

- Alarm upload: System can upload the alarm signal to the network (including alarm centre) if you enabled current function.

- Send email: System can send out email to alert you when an alarm occurs.

- Record channel: System auto activates motion detection channel(s) to record once an alarm occurs. Please make sure you have set MD record in Schedule interface(Main Menu->Video->Schedule) and schedule record in manual record interface(Main Menu->Video->Manual Record)

- PTZ activation: Here you can set PTZ movement when an alarm occurs. Such as go to preset, tour &pattern when there is an alarm. Click “select” button, you can see an interface is shown as in X305H305H305HFigure 4-46X.

- Record Delay: System can delay the record for specified time after alarm ended. The value ranges from 10s to 300s.

- Tour: Here you can enable tour function when an alarm occurs. System one-window tour. Please go to chapter 4.4.2.7 Display for tour interval setup.

- Buzzer: Highlight the icon to enable this function. The buzzer beeps when an alarm occurs.

- Snapshot: For snapshot operation, please refer to chapter 4.4.2.5.1.

- Audio broadcast: System triggers audio function when generating an alarm.

- Output port: It is to set output port: speaker/MIC output port.

- Siren output control: System triggers siren when an alarm occurs.

- Test: Click it to test current motion detect setup (do not need to save). Click Select button after Region, you can set motion detect area. The default setup is whole region. The blue zones are the selected area. Please set sensitivity and click Test button, you can see system only display motion detect status of the blue area. The red flashing area is current motion detect. See Figure 4-50.

Please highlight icon  to select the corresponding function. After all the setups please click Save button, system goes back to the previous menu.

Note:

In motion detection mode, you can not use copy/paste to set channel setup since the video in each channel may not be the same.

In Figure 4-45, you can left click mouse and then drag it to set a region for motion detection. Click Fn to switch between arm/withdraw motion detection. After setting, click enter button to exit.

Figure 4-44

Figure 4-45

Figure 4-46

Figure 4-47

Figure 4-48

Figure 4-49

Figure 4-50

##### Video Loss

In Figure 4-44, select video loss from the type list. You can see the interface is shown as in Figure 4-51.This function allows you to be informed when video loss phenomenon occurred. You can enable alarm output channel and then enable show message function.

Tips:

- You can enable preset/tour/pattern activation operation when video loss occurs.

- Please refer to chapter 4.4.1.2 for alarm setup information, except there is no device type, anti-dither, video matrix function.

- System only enables video loss function during the period you set here. It is null for motion detect or camera masking type.

Figure 4-51

##### Camera Masking

When someone viciously masks the lens, or the output video is in one-color due to the environments light change, the system can alert you to guarantee video continuity. Camera masking interface is shown as in Figure 4-52. You can enable “Alarm output “or “Show message” function when camera masking alarm occurs.

- Sensitivity: The value ranges from 1 to 6. It mainly concerns the brightness. The level 6 has the higher sensitivity than level 1. The default setup is 3.

Tips:

You can enable preset/tour/pattern activation operation when video loss occurs.

Please refer to chapter 4.4.2.2.1 motion detection for detailed information.

Note:

- In Detect interface, copy/paste function is only valid for the same type, which means you can not copy a channel setup in video loss mode to camera masking mode.

- About Default function. Since detection channel and detection type may not be the same, system can only restore default setup of current detect type. For example, if you click Default button at the camera masking interface, you can only restore default camera masking setup. It is null for other detect types.

- System only enables camera masking function during the period you set here. It is null for motion detect or video loss type.

Figure 4-52

#### Search

Click search button, search interface is shown as below. See Figure 4-53.

Usually there are three file types:

- R: Regular recording file.

- A: External alarm recording file.

- M: Motion detection recording file.

Figure 4-53

Please refer to the following sheet for more information.

| SN | Name | Function |
| --- | --- | --- |
| 1 | Display window | Here is to display the searched picture or file. Support 1/4/9-window playback. |
| 2 | Search type | Here you can select to search the picture or the recorded file. You can select to play from the read-write HDD, from peripheral device or from redundancy HDD. Before you select to play from the peripheral device, please connect the corresponding peripheral device. You can view all record files of the root directory of the peripheral device. Click the Browse button; you can select the file you want to play. |
| 3 | Calendar | The blue highlighted date means there is picture or file. Otherwise, there is no picture or file. In any play mode, click the date you want to see, you can see the corresponding record file trace in the time bar. |
| 4 | Playback mode and channel selection pane. | Playback mode：1/4/9-channel. In 1-window playback mode: you can select 1-4 channels. In 4-window playback mode: you can select 4 channels according to your requirement. In 9-window playback mode: System can playback at all-channel. The time bar will change once you modify the playback mode or the channel option. |
| 5 | Card number search | The card number search interface is shown as below. Here you can view card number/field setup bar. You cam implement advanced search. |
| 6 | File list switch button | Double click it; you can view the picture/record file list of current day. The file list is to display the first channel of the record file. The system can display max 128 files in one time. Use the (│and │( or the mouse to view the file. Select one item, and then double click the mouse or click the ENTER button to playback. You can input the period in the following interface to begin accurate search. File type：R—regular record； A—external alarm record；M—Motion detect record. Lock file. Click the file you want to lock and click the button to lock. The file you locked will not be overwritten. Search locked file: Click the button to view the locked file. Return: Click button, system goes back to the calendar and channel setup interface. Please note: System max locks 16 files. The size of the locked file shall be less than the 1/4 of the HDD total space. The first 16G of each partition can not be locked. System can only lock one file at one time and can not lock the extra stream. For the file that is writing or overwriting, it can not be locked. |
| 7 | Mark file list button | Click it to go to mark file list interface. You can view all mark information of current channel by time. Please refer to chapter 4.4.2.3.3 for detailed information. Please note only the product of this icon supports mark function. |
| 8 | Playback control pane. | ►/( | Play/Pause There are three ways for you to begin playback. The play button Double click the valid period of the time bar. Double click the item in the file list. In slow play mode, click it to switch between play/pause. |
|  |  | ■ | Stop |
|  |  | ( | Backward play In normal play mode, left click the button, the file begins backward play. Click it again to pause current play. In backward play mode, click ►/( to restore normal play. |
|  |  | │(/(│ | In playback mode, click it to play the next or the previous section. You can click continuously when you are watching the files from the same channel. In normal play mode, when you pause current play, you can click (│ and │( to begin frame by frame playback. In frame by frame playback mode, click ►/( to restore normal playback. |
|  |  | ► | Slow play In playback mode, click it to realize various slow play modes such as slow play 1, slow play 2, and etc. |
|  |  | ( | Fast forward In playback mode, click to realize various fast play modes such as fast play 1,fast play 2 and etc. |
|  |  | Note: The actual play speed has relationship with the software version. |
|  |  |  | Smart search |
|  |  |  | The volume of the playback |
|  |  |  | Click the snapshot button in the full-screen mode, the system can snapshot 1 picture. System supports custom snap picture saved path. Please connect the peripheral device first, click snap button on the full-screen mode, you can select or create path. Click Start button, the snapshot picture can be saved to the specified path. |
|  |  |  | Mark button. Please note this function is for some series product only. Please make sure there is a mark button in the playback control pane. You can refer to chapter 4.4.2.3.3 for detailed information. |
| 9 | Time bar | It is to display the record type and its period in current search criteria. In 4-window playback mode, there are corresponding four time bars. In other playback mode, there is only one time bar. Use the mouse to click one point of the color zone in the time bar, system begins playback. The time bar is beginning with 0 o'clock when you are setting the configuration. The time bar zooms in the period of the current playback time when you are playing the file. The green color stands for the regular record file. The red color stands for the external alarm record file. The yellow stands for the motion detect record file. |
| 10 | Time bar unit | ●The option includes: 24H, 12H, 1H and 30M. The smaller the unit, the larger the zoom rate. You can accurately set the time in the time bar to playback the record. The time bar is beginning with 0 o'clock when you are setting the configuration. The time bar zooms in the period of the current playback time when you are playing the file. |
| 11 | Backup | Select the file(s) you want to backup from the file list. You can check from the list. Then click the backup button, now you can see the backup menu. System supports customized path setup. After select or create new folder, click the Start button to begin the backup operation. The record file(s) will be saved in the specified folder. Check the file again you can cancel current selection. System max supports to display 32 files from one channel. After you clip on record file, click Backup button you can save it. For one device, if there is a backup in process, you can not start a new backup operation. |
| 12 | Clip | It is to edit the file. ●Please play the file you want to edit and then click this button when you want to edit. You can see the corresponding slide bars such as or in the time bar of the corresponding channel. You can adjust the slide bar or input the accurate time to set the file end time. After you set, you can click Clip button again to edit the second period. You can see the slide bar restore its previous position. Click Backup button after clip, you can save current contents in a new file. You can clip for one channel or multiple-channel. The multiple-channel click operation is similar with the one-channel operation. Please note: System max supports 1024 files backup at the same time. You can not operate clip operation if there is any file has been checked in the file list. |
| 13 | Record type | In any play mode, the time bar will change once you modify the search type. |
| Other Functions |
| 14 | Smart search | When system is playing, you can select a zone in the window to begin smart search. Click the motion detect button to begin play. Once the motion detect play has begun, click button again will terminate current motion detect file play. There is no motion detect zone by default. If you select to play other file in the file list, system switches to motion detect play of other file. During the motion detect play process, you can not implement operations such as change time bar, begin backward playback or frame by frame playback. Please refer to chapter 4.4.2.3.1 Smart Search for detailed operation. |
| 15 | Other channel synchronization switch to play when playback | When playing the file, click the number button, system can switch to the same period of the corresponding channel to play. |
| 16 | Digital zoom | When the system is in full-screen playback mode, left click the mouse in the screen. Drag your mouse in the screen to select a section and then left click mouse to realize digital zoom. You can right click mouse to exit. |
| 17 | Manually switch channel when playback | During the file playback process, you can switch to other channel via the dropdown list or rolling the mouse. This function is null if there is no record file or system is in smart search process. |

Note:

All the operations here (such as playback speed, channel, time and progress) have relationship with hardware version. Some series alarm panels do not support some functions or playback speeds.

##### Smart Search

During the multiple-channel playback mode, double click one channel and then click the  button, system begins smart search. System supports 396(22*18 PAL) and 330(22*15 NTSC) zones. Please left click mouse to select smart search zones. See Figure 4-54.

Figure 4-54

Click the, you can go to the smart search playback. Click it again, system stops smart search playback.

Important

- System does not support motion detect zone setup during the full-screen mode.

- During the multiple-channel playback, system stops playback of rest channels if you implement one-channel smart search.

##### Accurate playback by time

Select records from one day, click the list, you can go to the file list interface. You can input time at the top right corner to search records by time. For example, click time 06:00.00 and then click Search button, you can view all the record files after 06:00.00 (The records includes current time.). Click Play button, you can see system begins play from 06:00.00. See Figure 4-55.

Note

- After you searched files, system implement accurate playback once you click Play for the first time.

- System does not support accurate playback for picture.

- System supports synchronization playback and non-synchronous playback. The synchronization playback supports all channels and non-synchronous playback only supports accurately playback of current select channel.

Figure 4-55

##### Mark Playback

Please make sure your purchased device support this function. You can use this function only if you can see the mark playback icon on the Search interface (Figure 4-53).

When you are playback record, you can mark the record when there is important information. After playback, you can use time or the mark key words to search corresponding record and then play. It is very easy for you to get the important video information.

- Add Mark

When system is playback, click Mark button, you can go to the following interface. See Figure 4-56.

Figure 4-56

- Playback Mark

During 1-window playback mode, click mark file list button in Figure 4-53, you can go to mark file list interface. Double click one mark file, you can begin playback from the mark time.

- Play before mark time

Here you can set to begin playback from previous N seconds of the mark time.

Note

Usually, system can playback previous N seconds record if there is such kind of record file. Otherwise, system playbacks from the previous X seconds when there is such as kind of record.

- Mark Manager

Click the mark manager button  on the Search interface (Figure 4-53); you can go to Mark Manager interface. See Figure 4-57. System can manage all the record mark information of current channel by default. You can view all mark information of current channel by time.

Figure 4-57

- Modify

Double click one mark information item, you can see system pops up a dialogue box for you to change mark information. You can only change mark name here.

- Delete

Here you can check the mark information item you want to delete and then click Delete button, you can remove one mark item. .

Note

- After you go to the mark management interface, system needs to pause current playback. System resume playback after you exit mark management interface.

- If the mark file you want to playback has been removed, system begin playbacking from the first file in the list.

#### Schedule

After system booted up, it is in default 24-hour regular mode. You can set record type and time in schedule interface.

In the main menu, from setting to schedule, you can go to schedule menu. See Figure 4-58.

- Channel: Please select the channel number first. You can select “all” if you want to set for the whole channels.

- Week day: There are eight options: ranges from Saturday to Sunday and all.

- Pre-record: System can pre-record the video before the event occurs into the file. The value ranges from 1 to 30 seconds depending on the bit stream.

- Redundancy: System supports redundancy backup function.  It allows you backup recorded file in two disks. You can highlight Redundancy button to activate this function. Please note, before enable this function, please set at least one HDD as redundant. (Main menu->Advanced->HDD Management)  Please note this function is null if there is only one HDD.

- Snapshot: You can enable this function to snapshoot image when an alarm occurs.

- Record types: There are four types: regular, motion detection (MD), Alarm, MD & alarm.

- Holiday setting: Here you can set holiday date. Check the box, it means current channel shall record as your holiday setup. Please go to the Period interface to set the holiday date record setup. See Figure 4-59. Please note you need to go to Chapter 4.4.4.1 to enable Holiday function first.

Please highlight icon  to select the corresponding function. After completing all the setups please click save button, system goes back to the previous menu.

At the bottom of the menu, there are color bars for your reference. Green color stands for regular recording, yellow color stands for motion detection and red color stands for alarm recording. The white means the MD and alarm record is valid. Once you have set to record when the MD and alarm occurs, system will not record neither motion detect occurs nor the alarm occurs.

Figure 4-58

Figure 4-59

##### Quick Setup

Copy function allows you to copy one channel setup to another. After setting in channel 1, click Copy button, you can go to interface Figure 4-60. You can see current channel name is grey such as channel 1. Now you can select the channel you wan to paste such as channel 5/6/7. If you wan to save current setup of channel 1 to all channels, you can click the first box “ALL”. Click the OK button to save current copy setup. Click the OK button in the Record interface, the copy function succeeded.

Please note, if you select ALL in Figure 4-60, the record setup of all channels are the same and the Copy button becomes hidden.

Figure 4-60

#### Redundancy

Redundancy function allows you to memorize record file in several disks. When there is file damage occurred in one disk, there is a spare one in the other disk. You can use this function to maintain data reliability and safety.

In the main menu, from Video to Schedule, you can highlight redundancy button to enable this function. See Figure 4-58.

In the main menu, from System to HDD management, you can set one or more disk(s) as redundant. You can select from the dropdown list. See Figure 4-61. System auto overwrites old files once hard disk is full.

Please note only read/write disk or read-only disk can backup file and support file search function, so you need to set at least one read-write disk otherwise you can not record video.

Note

About redundancy setup:

- If current channel is not recording, current setup gets activated when the channel begin recording the next time.

- If current channel is recording now, current setup will get activated right away, the current file will be packet and form a file, then system begins recording as you have just set.

After all the setups please click save button, system goes back to the previous menu.

Figure 4-61

Playback or search in the redundant disk.

There are two ways for you to playback or search in the redundant disk.

- Set redundant disk(s) as read-only disk or read-write disk (Main menu->Advanced->HDD management).  See Figure 4-61.System needs to reboot to get setup activated. Now you can search or playback file in redundant disk.

- Dismantle the disk and play it in another PC.

##### Snapshot Operation

- Schedule Snapshot

In Encode interface, click snapshot button to select snapshot mode as timing, and then set size, quality and frequency. See Figure 4-62.

In Schedule interface, please enable snapshot function. See Figure 4-63.

Figure 4-62

Figure 4-63

- Activation Snapshot

Please follow the steps listed below to enable the activation snapshot function. After you enabled this function, system can snapshot when the corresponding alarm occurred.

- In Encode interface, click snapshot button to select snapshot mode as trigger, and then set size, quality and frequency. See Figure 4-64.

- In Detect interface please enable snapshot function for specified channels. See Figure 4-65. Or in alarm interface please enable snapshot function for specified channels. See Figure 4-66.

Please refer to the following figure for detailed information. See Figure 4-66.

Figure 4-64

Figure 4-65

Figure 4-66

##### Priority

Please note the activation snapshot has the higher priority than schedule snapshot. If you have enabled these two types at the same time, system can activate the activation snapshot when an alarm occurs, and otherwise system just operates the schedule snapshot.

#### Record

Note:

You need to have proper rights to implement the following operations. Please make sure the HDD has been properly installed.

Tips

On the preview interface, right click mouse you can go to the manual record interface.

##### Basic operation

There are two modes: main stream and extra stream. There are three statuses: schedule/manual/stop. Please highlight icon“○” to select corresponding channel. See Figure 4-67.

- Manual: The highest priority. After manual setup, all selected channels will begin ordinary recording.

- Schedule: Channel records as you have set in recording setup (Main Menu->Setting->Schedule)

- Stop: All channels stop recording.

Figure 4-67

##### Enable/disable record

Please check current channel status: “○” means it is not in recording status, “●” means it is in recording status.

You can use mouse or direction key to highlight channel number. See Figure 4-68.

Figure 4-68

##### Enable all channel recording

Highlight ○ below All, you can enable all channel recording.

- All channel schedule record

Please highlight “ALL” after “Schedule”. See Figure 4-69.

When system is in schedule recording, all channels will record as you have previously set (Main menu->Setting->Schedule).

The corresponding indication light in front panel will turn on.

Figure 4-69

- All channel manual record

Please highlight “ALL” after “Manual.” See Figure 4-70.

When system is in manual recording, all scheduled set up you have set in will be null ((Main menu->Setting->Schedule)).

You can see indication light in front panel turns on, system begins manual record now.

Figure 4-70

- Stop all channel recording

Please highlight “ALL” after “Stop”. See Figure 4-71.

System stops all channel recording no matter what mode you have set in the menu (Main menu->Setting->Schedule)

Figure 4-71

#### Display

Display setup interface is shown as below. See Figure 4-72.

- Transparency: Here is for you to adjust transparency. The value ranges from 128 to 255.

- Channel name: Here is for you to modify channel name. System max support 25-digit (The value may vary due to different series). Please note all your modification here only applies to alarm panel local end. You need to open web or client end to refresh channel name.

- Time display: You can select to display time or not when system is playback.

- Channel display: You can select to channel name or not when system is playback.

- Resolution: There are four options: 1920×1080, 1280×1024(default),1280×720,1024×768. Please note the system needs to reboot to activate current setup.

- Image enhance: Check the box; you can optimize the margin of the preview video.

- Tour setup: Here you can activate tour function. Click Setup button, you can see an interface shown as in Figure 4-74.

  - Enable tour: Highlight box here to enable this function.

  - Interval: System supports 1/4-window tour. Input proper interval value here. The value ranges from 5-120 seconds. It is for schedule tour/alarm/motion detect tour.

  - Split: You can select window split mode from the dropdown list.

  - Channel group: It is for you to view channel names under current window split mode. You can add/delete channel here. Double click one item, you can change channel group setup to edit it. Now system max supports 24 channels.

  - Add: Under specified window split mode, click it to add channel group.

  - Delete: Click it to remove selected channel group.

  - Move up: Click it to move current selected channel up.

  - Move down: Click it to move current selected channel down.

  - Default: Click it to restore default setup.

Please highlight icon  to select the corresponding function.

After completing all the setups please click save button, system goes back to the previous menu.

Figure 4-72

In Figure 4-72, click modify button after channel. You can see an interface is shown as in Figure 4-73. Please note all your modification here applies to local end only. You need to refresh web or client-end to get the latest channel name. System max support 25-digital character.

Figure 4-73

Figure 4-74

- Zero-Channel Encoding: Click Setup button, you can go to the following interface.  Figure 4-75. Here you can enable and set zero-channel encoding function so that you can view several video sources at one channel.

  - Enable: This function is disabled by default. Check the box here to enable this function so that you can control the zero-channel encoding function at the WEB.

  - Compression: System default setup is H.264. You can set according to device capability.

  - Resolution: The resolution value may vary due to different device capabilities. Please select from the dropdown list.

  - Frame rate: The frame rate value may vary due to different device capabilities. Please select from the dropdown list.

  - Bit Rate: The bit rate value may vary due to different device capabilities and frame rate setups. Please select from the dropdown list.

  - Save: Click the Save button to save current setup. If this function is disabled, you can not operate zero-channel encoding function at the WEB, the video is black or null even you operate when the function is disabled. After you enabled this function, login the Web and you can select zero-channel encoding mode at the right corner of the interface. Select a mode; you can view the local preview video.

Figure 4-75

#### Broadcast

The broadcast interface is shown as in Figure 4-76. Here you can set audio file volume.

Figure 4-76

Click Schedule playback button, you can see an interface shown as below. See Figure 4-77. Here you can set schedule playback period and file.

Figure 4-77

#### D/A Switch

Please select corresponding mode according to your actual situation. See Figure 4-78.

- Analog channel: It is the max analog channel amount system supports.

- Digital channel: It is the max network camera channel amount system supports.

After you selected a mode, you can see its max encode capability.

Figure 4-78

### Information

Here is for you to view system information. See Figure 4-79.

It has seven buttons: HDD, BPS, log, version, online user, network, MCU.

Figure 4-79

#### HDD

Here is to list hard disk type, total space, free space, video start time and status. See X391H391H391H See Figure 4-80.○ means current HDD is normal. X means there is error. - means there is no HDD.

If disk is damaged, system shows as “?”. Please remove the broken hard disk before you add a new one.

Once there is a hard disk confliction, please check hard disk time and system time is the same or not. Please go to setting then general to modify system time.  At last, reboot the system to solve this problem.

After system booted up, if there is any confliction, system goes to HDD information interface directly. Please note, system does not ask you to deal with it forcedly.

When HDD confliction occurs, you can check system time and HDD time are identical or not. If they are not identical, please go to General (Chapter 4.4.4.1) to adjust system time or go to HDD Management (Chapter 4.4.4.4) to format HDD and then reboot the alarm panel.

Figure 4-80

Tips:

Please click Fn button or left click mouse to view HDD record time and HDD type and time.

Double click one HDD information; you can see the HDD SMART information.

#### BPS

Here is for you to view current video data stream (KB/s) and occupied hard disk storage (MB/h). See Figure 4-81.

Figure 4-81

#### Log

Here is for you to view system log file. System lists the following information. See Figure 4-82.

Log types include system operation, system configuration, data management, alarm event, record operation, log clear, file operation and etc.

- Start time/end time: Pleased select start time and end time, then click search button. You can view the log files in a list. System max displays 100 logs in one page. It can max save 1024 log files.  Please use page up/down button on the interface or the front panel to view more.

- Backup: Please select a folder you want to save; you can click the backup button to save the log files. After the backup, you can see there is a folder named Log_time on the backup path. Double click the folder, you can see the log file

- Details: Click the Details button or double click the log item, you can view the detailed information. See Figure 4-83. Here you can use rolling bar to view information, or you can use Page up/Page down to view other log information. For the alarm event log such as video loss, you can click the Playback button at the bottom right corner to playback.

Figure 4-82

Figure 4-83

#### Version

Here is for you to view hardware features, software version, built date, release SN information and etc. You can also update system here. See Figure 4-84.

- Start: Please insert the USB device that have the update file to the device and then click the Start button to begin the update.

Important

Please make sure the upgrade file name shall be update.bin.

Figure 4-84

#### Online Users

Here is for you manage online users. See Figure 4-85.

You can disconnect one user or block one user if you have proper system right. Max disconnection setup is 65535 seconds.

System refreshes current interface every five seconds to detect there is any newly added or deleted user.

Figure 4-85

#### Network

In this interface, you can see network test and network load information.

##### Network Test

Network test interface is shown as in Figure 4-86.

- Destination IP: Please input valid IPV4 address and domain name.

- Test: Click it to test the connection with the destination IP address. The test results can display average delay and packet loss rate and you can also view the network status as OK, bad, no connection and etc.

- Network Sniffer backup: Please insert USB2.0 device and click the Refresh button, you can view the device on the following column. You can use the dropdown list to select peripheral device. Click Browse button to select the snap path. The steps here are same as preview backup operation.

You can view all connected network adapter names (including Ethernet, PPPoE, WIFI, and 3G), you can click the button  on the right panel to begin Sniffer. Click the grey stop button to stop. Please note system can not Sniffer several network adapters at the same time.

After Sniffer began, you can exit to implement corresponding network operation such as login WEB, monitor. Please go back to Sniffer interface to click  stop Sniffer. System can save the packets to the specified path. The file is named after “Network adapter name+time”. You can use software such as Wireshark to open the packets on the PC for the professional engineer to solve complicated problems.

Figure 4-86

##### Network Load

Network load is shown as in Figure 4-87. Here you can view the follow statistics of the device network adapter.

Here you can view information of all connected network adapters. The connection status is shown as offline if connection is disconnected. Click one network adapter, you can view the flow statistics such as send rate and receive rate at the top panel

Figure 4-87

### System

In main menu, highlight system icon and double click mouse. System interface is shown as below. See Figure 4-88.

It has eleven buttons: general, network, account, HDD manager, RS485, auto maintain, backup, config backup, text overlay, default and shutdown.

Figure 4-88

#### General

General setting includes the following items. See Figure 4-89.

- System time: Here is for you to set system time

- Date format: There are three types: YYYYY-MM-DD: MM-DD-YYYYY or DD-MM-YYYY.

- Date separator: There are three denotations to separate date: dot, beeline and solidus.

- DST: Here you can set DST time and date. Please enable DST function and then click set button. You can see an interface is shown as in Figure 4-90. Here you can set start time and end time by setting corresponding week setup. In Figure 4-90, enable date button, you can see an interface is shown as in Figure 4-91. Here you can set start time and end time by setting corresponding date setup.

- Time format: There are two types: 24-hour mode or 12-hour mode.

- Language: System supports various languages: Chinese (simplified), Chinese (Traditional), English, Italian, Japanese, French, Spanish (All languages listed here are optional. Slight difference maybe found in various series.)

- HDD full: Here is for you to select working mode when hard disk is full. There are two options: stop recording or rewrite. If current working HDD is overwritten or the current HDD is full while the next HDD is no empty, then system stops recording, If the current HDD is full and then next HDD is not empty, then system overwrites the previous files.

- Video standard: There are two formats: NTSC and PAL.

- Pack duration: Here is for you to specify record duration. The value ranges from 1 to 120 minutes. Default value is 60 minutes.

- Real-time playback: It is to set playback time you can view in the preview interface (chapter 4.2 Live Viewing). The value ranges from 5 to 60 minutes.

- Device ID: Please input a corresponding device name here.

- Holiday setup: Click it you can see an interface shown as in Figure 4-92. Here you can set holiday date. Please go to chapter 4.4.2.4 Schedule to view or set the holiday date record setup.

  - When you enable Holiday settings and schedule setup at the same time, holiday setting has the priority. If the selected day is a holiday, then system records as you set in holiday setting. If it is not a holiday, system records as you set in Schedule interface. Please note you need to go to chapter 4.4.2.4 Schedule to enable Holiday setup. Otherwise you can not enable holiday record setup.

  - Please note, there is no year setup on the holiday setup. For example, if you set 30th Oct, 2012 as a holiday, then the date of 30th Oct in each year will be set as a holiday. So, general speaking, your holiday setup in other year may also affect the holiday setup in 2012.

- Auto logout: Here is for you to set auto logout interval once login user remains inactive for a specified time. Value ranges from 0 to 60 minutes.

- Mouse property: Click mouse setup button, you can go to mouse setup interface. See Figure 4-93. You can set double click speed via dragging the slide bard. You can Click Default button to restore default setup.

- Startup wizard: Check the box here, system goes to the startup wizard when the device boots up the next time. Otherwise, it goes to the system login interface directly.

- Navigation bar: Check the box here, system displays the navigation bar on the interface.

Note:

Since system time is very important, do not modify time casually unless there is a must!

Before your time modification, please stop record operation first!

After completing all the setups please click save button, system goes back to the previous menu.

Figure 4-89

Figure 4-90

Figure 4-91

Figure 4-92

Figure 4-93

#### Network

Here is for you to input network information.

The IPv4 interface is shown as in Figure 4-94 and the IPv6 interface is shown as in Figure 4-95.

- IP Version: There are two options: IPv4 and IPv6. Right now, system supports these two IP address format and you can access via them.

- MAC address: The host in the LAN can get a unique MAC address. It is for you to access in the LAN. It is read-only.

- IP address: Here you can use up/down button ((() or input the corresponding number to input IP address. Then you can set the corresponding subnet mask the default gateway.

- Subnet prefix: The input value ranges from 0 to 128. It is to mark a specified network MAC address. Usually it includes an organization of multiple-level.

- Default gateway: Here you can input the default gateway. Please note system needs to check the validity of all IPv6 addresses. The IP address and the default gateway shall be in the same IP section. That is to say, the specified length of the subnet prefix shall have the same string.

- DHCP: It is to auto search IP. When enable DHCP function, you can not modify IP/Subnet mask /Gateway. These values are from DHCP function. If you have not enabled DHCP function, IP/Subnet mask/Gateway display as zero. You need to disable DHCP function to view current IP information.  Besides, when PPPoE is operating, you can not modify IP/Subnet mask /Gateway.

- TCP port: Default value is 37777. You can change if necessary.

- UDP port: Default value is 37778. You can change if necessary.

- HTTP port: Default value is 80.

- RTSP port: Default value is 554.

Important: System needs to reboot after you changed and saved any setup of the above four ports. Please make sure the port values here do not conflict.

- Max connection: system support maximal 128 users. 0 means there is no connection limit.

- MTU: It is to set MTU value of the network adapter. The value ranges from 1280-7200 bytes. The default setup is 1500 bytes. Please note MTU modification may result in network adapter reboot and network becomes off. That is to say, MTU modification can affect current network service. System may pop up dialog box for you to confirm setup when you want to change MTU setup. Click OK button to confirm current reboot, or you can click Cancel button to terminate current modification. Before the modification, you can check the MTU of the gateway; the MTU of the alarm panel shall be the same as or is lower than the MTU of the gateway. In this way, you can reduce packets and enhance network transmission efficiency.

The following MTU value is for reference only.

  - 1500: Ethernet information packet max value and it is also the default value. It is the typical setup when there is no PPPoE or VPN. It is the default setup of some router, switch or the network adapter.

  - 1492: Recommend value for PPPoE.

  - 1468: Recommend value for DHCP.

- Preferred DNS server: DNS server IP address.

- Alternate DNS server: DNS server alternate address.

- Transfer mode: Here you can select the priority between fluency/video qualities.

- LAN download: System can process the downloaded data first if you enable this function. The download speed is 1.5X or 2.0X of the normal speed.

Important

For the IP address of IPv6 version, default gateway, preferred DNS and alternate DNS, the input value shall be 128-digit. It shall not be left in blank.

After completing all the setups please click save button, system goes back to the previous menu.

Figure 4-94

Figure 4-95

##### Network Setting

Network setting interface is shown as in Figure 4-96. Please check the box to enable corresponding function and then double click current item to go to setup interface.

Figure 4-96

###### IP Filter

IP filter interface is shown as in Figure 4-97. You can add IP in the following list. The list supports max 64 IP addresses. System supports valid address of IPv4 and IPv6. Please note system needs to check the validity of all IPv6 addresses.

After you enabled trusted sites function, only the IP listed below can access current alarm panel.

If you enable blocked sites function, the following listed IP addresses can not access current alarm panel.

- Enable: Highlight the box here, you can check the trusted site function and blocked sites function. You can not see these two modes if the Enable button is grey.

- Type: You can select trusted site and blacklist from the dropdown list. You can view the IP address on the following column.

- Start address/end address: Select one type from the dropdown list, you can input IP address in the start address and end address. Now you can click Add IP address or Add IP section to add.

- For the newly added IP address, it is in enable status by default. Remove the √ before the item, and then current item is not in the list.

- System max supports 64 items.

- Address column supports IPv4 or IPv6 format. If it is IPv6 address, system can optimize it. For example, system can optimize aa:0000: 00: 00aa: 00aa: 00aa: 00aa: 00aa as aa:: aa: aa: aa: aa: aa: aa.

- System automatically removes space if there is any space before or after the newly added IP address.

- System only checks start address if you add IP address. System check start address and end address if you add IP section and the end address shall be larger than the start address.

- System may check newly added IP address exists or not. System does not add if input IP address does not exist.

- Delete: Click it to remove specified item.

- Edit: Click it to edit start address and end address. See Figure 4-99. System can check the IP address validity after the edit operation and implement IPv6 optimization.

- Default: Click it to restore default setup. In this case, the trusted sites and blocked sites are both null.

Note:

- If you enabled trusted sites, only the IP in the trusted sites list can access the device.

- If you enabled blocked sites, the IP in the blocked sites can not access the device.

- System supports add MAC address.

Figure 4-97

Figure 4-98

Figure 4-99

###### NTP Setup

You need to install SNTP server (Such as Absolute Time Server) in your PC first. In Windows XP OS, you can use command “net start w32time” to boot up NTP service.

NTP setup interface is shown as in Figure 4-100.

- Host IP: Input your PC address.

- Port:  This series alarm panel supports TCP transmission only. Port default value is 123.

- Update interval: minimum value is 1. Max value is 65535. (Unit: minute)

- Time zone: select your corresponding time zone here.

- Manual update: It allows you to synchronize the time with the server manually.

Here is a sheet for your time zone setup.

| City /Region Name | Time Zone |
| --- | --- |
| London | GMT+0 |
| Berlin | GMT+1 |
| Cairo | GMT+2 |
| Moscow | GMT+3 |
| New Deli | GMT+5 |
| Bangkok | GMT+7 |
| Beijing (Hong Kong) | GMT+8 |
| Tokyo | GMT+9 |
| Sydney | GMT+10 |
| Hawaii | GMT-10 |
| Alaska | GMT-9 |
| Pacific Time(P.T) | GMT-8 |
| American Mountain Time(M.T) | GMT-7 |
| American Central Time(C.T) | GMT-6 |
| American Eastern Time(E.T) | GMT-5 |
| Atlantic Time | GMT-4 |
| Brazil | GMT-3 |
| Middle Atlantic Time | GMT-2 |

Figure 4-100

###### Multicast

Multicast setup interface is shown as in Figure 4-101.

Figure 4-101

Here you can set a multiple cast group. Please refer to the following sheet for detailed information.

- IP multiple cast group address

-224.0.0.0-239.255.255.255

-“D” address space

- The higher four-bit of the first byte=”1110”

- Reserved local multiple cast group address

-224.0.0.0-224.0.0.255

-TTL=1 When sending out telegraph

-For example

      - All systems in the sub-net

      - All routers in the sub-net

      - DVMRP router

      - OSPF router

224.0.0.13 PIMv2 router

- Administrative scoped addressees

-239.0.0.0-239.255.255.255

-Private address space

- Like the single broadcast address of RFC1918

- Can not be used in Internet transmission

- Used for multiple cast broadcast in limited space.

Except the above mentioned addresses of special meaning, you can use other addresses. For example:

Multiple cast IP: 235.8.8.36

Multiple cast PORT: 3666.

After you logged in the Web, the Web can automatically get multiple cast address and add it to the multiple cast groups. You can enable real-time monitor function to view the view.

Please note multiple cast function applies to special series only.

###### PPPoE

PPPoE interface is shown as in Figure 4-102.

Input “PPPoE name” and “PPPoE password” you get from your ISP (Internet service provider).

Click save button, you need to restart to activate your configuration.

After rebooting, alarm panel will connect to internet automatically. The IP in the PPPoE is the alarm panel dynamic value. You can access this IP to visit the unit.

Figure 4-102

###### DDNS Setup

DDNS setup interface is shown as in Figure 4-103.

You need a PC of fixed IP in the internet and there is the DDNS software running in this PC. In other words, this PC is a DNS (domain name server).

In network DDNS, please select DDNS type and highlight enable item. Then please input your PPPoE name you get from you IPS and server IP (PC with DDNS ) . Click save button and then reboot system.

Click save button, system prompts for rebooting to get all setup activated.

After rebooting, open IE and input as below:

http：//(DDNS server IP)/(virtual directory name)/webtest.htm

e.g.: http：//10.6.2.85/ alarm panel _DDNS/webtest.htm.)

Now you can open DDNSServer web search page.

Figure 4-103

Please note DDNS type includes: CN99 DDNS, NO-IP DDNS, Quick DDNS and Dyndns DDNS. All the DDNS can be valid at the same time, you can select as you requirement.

Quick DDNS function shall work with special DDNS server and special Professional Surveillance Software (PSS).

Quick DDNS and Client-end Introduction

1) Background Introduction

Device IP is not fixed if you use ADSL to login the network. The DDNS function allows you to access the alarm panel via the registered domain name. Besides the general DDNS, the Quick DDNS works with the device from the manufacturer so that it can add the extension function.

2) Function Introduction

The quick DDNS client has the same function as other DDNS client end. It realizes the bonding of the domain name and the IP address. Right now, current DDNS server is for our own devices only. You need to refresh the bonding relationship of the domain and the IP regularly. There is no user name, password or the ID registration on the server. At the same time, each device has a default domain name (Generated by MAC address) for your option. You can also use customized valid domain name (has not registered.).

3) Operation

Before you use Quick DDNS, you need to enable this service and set proper server address, port value and domain name.

- Server address：www.quickddns.com

- Port number：80

- Domain name：There are two modes: Default domain name and customized domain name.

Except default domain name registration, you can also use customized domain name (You can input your self-defined domain name.)  After successful registration, you can use domain name to login installed of the device IP.

- User name: It is optional. You can input your commonly used email address.

Important

- Do not register frequently. The interval between two registrations shall be more than 60 seconds. Too many registration requests may result in server attack.

- System may take back the domain name that is idle for one year. You can get a notification email before the cancel operation if your email address setup is OK.

###### UPNP

The UPNP protocol is to establish a mapping relationship between the LAN and the WAN. Please input the router IP address in the LAN in Figure 4-95. Double click the UPNP item in Figure 4-96, you can see the following interface. See Figure 4-104.

- UPNP  on/off ：Turn on or off the UPNP function of the device.

- Status:  When the UPNP is offline, it shows as “Unknown”. When the UPNP works it shows “Success”

- Router LAN IP: It is the router IP in the LAN.

- WAN IP: It is the router IP in the WAN.

- Port Mapping list： The port mapping list here is the one to one relationship with the router’s port mapping setting.

- Enable Switch : ：It shows that the function of port mapping is enabled in this port.

- List：

  - Service name：Defined by user.

  - Protocol： Protocol type

  - Internal port：Port that has been mapped in the router.

  - External port：Port that has been mapped locally.

- Default: UPNP default port setting is the HTTP, TCP and UDP of the alarm panel.

- Add to the list: Click it to add the mapping relationship.

- Delete: Click it to remove one mapping item.

Double click one item; you can change the corresponding mapping information. See Figure 4-105.

Important:

When you are setting the router external port, please use 1024~5000 port. Do not use well-known port 1~255 and the system port 256~1023 to avoid conflict.

For the TCP and UDP, please make sure the internal port and external port are the same to guarantee the proper data transmission.

Figure 4-104

Figure 4-105

###### 3G

3G setup interface is shown as below. See Figure 4-106.

Please refer to the following contents for the parameter information.

- Pane 1: Display 3G signal intensity after you enabled 3G function.

- Pane 2: Display 3G module configuration information after you enabled 3G function.

- Pane 3: Display 3G module status information after you enabled 3G function.

It is to display current wireless network signal intensity such as EVDO, CDMA1x, WCDMA, WCDMA, EDGE and etc.

- 3G module: It is to display current wireless network adapter name.

- 3G Enable/Disable: Check the box here to enable 3G module.

- Network type: There are various network types for different 3G network modules. You can select according to your requirements.

- APN: It is the wireless connection server. It is to set you access the wireless network via which method.

- AUTH: It is the authentication mode. It supports PAP/CHAP.

- Dial number: Please input 3G network dialup number you got from your ISP.

- User name: It is the user name for you to login the 3G network.

- Password: It is the password for you to login the 3G network.

- Pulse interval: You can set dialup duration. Once you disable the extra stream, the connection time begins. For example, if you input 5 seconds here, then 3G network connection period is 5 seconds. The device automatically disconnect when time is up.  If there is no extra stream, 3G network connection is valid all the time. If the alive time is 0, then the 3G network connection is valid all the time.

- Dial: Here you can enable or disable 3G network connection/disconnection manually.

- 3G wireless network: Here is to display wireless network status, SIM card status, dial status. If the 3G connection is OK, then you can see the device IP address the wireless network automatically allocates.

Figure 4-106

###### WIFI

You can view the WIFI connection status in the Network Setting interface. See Figure 4-107.

You can view current connection status and IP address if there is a connection.

Figure 4-107

The WIFI interface is shown as below. See Figure 4-108.

- Auto connect WIFI: Check the box here, system automatically connects to the previous WIFI hotspot.

- Refresh: You can click it to search the hotspot list again. It can automatically add the information such as the password if you have set it before.

- Disconnect: Here you can click it to turn off the connection.

- Connect: Here you can click it to connect to the hotspot. System needs to turn off current connection and then connect to a new hotspot if there is connection of you selected one. See Figure 4-109.

Figure 4-108

Figure 4-109

After successfully connection, you can see the following interface. You can see it is connected now. See Figure 4-109.

Figure 4-110

- WIFI working status: Here you can view current connection status.

Please note:

- After successful connection, you can see WIFI connection icon at the top right corner of the preview interface.

- When the hotspot verification type is WEP, system displays as AUTO since the device can not detect its encryption type.

- System does not support verification type WPA and WPA2. The display may become abnormal for the verification type and encryption type.

After device successfully connected to the WIFI, you can view the hotspot name, IP address, subnet mask, default gateway and etc. See Figure 4-111.

Figure 4-111

###### Email

The email interface is shown as below. See Figure 4-112.

- SMTP server: Please input your email SMTP server IP here.

- Port: Please input corresponding port value here.

- User name:  Please input the user name to login the sender email box.

- Password: Please input the corresponding password here.

- Sender: Please input sender email box here.

- Title: Please input email subject here. System support English character and Arabic number. Max 32-digit.

- Receiver: Please input receiver email address here. System max supports 3 email boxes. System automatically filters same addresses if you input one receiver repeatedly.

- SSL enable: System supports SSL encryption box.

- Interval: The send interval ranges from 0 to 3600 seconds. 0 means there is no interval.

- Health email enable: Please check the box here to enable this function. This function allows the system to send out the test email to check the connection is OK or not.

- Interval: Please check the above box to enable this function and then set the corresponding interval. System can send out the email regularly as you set here. Click the Test button, you can see the corresponding dialogue box to see the email connection is OK or not.  See Figure 4-113.

Please note system will not send out the email immediately when the alarm occurs. When the alarm, motion detection or the abnormity event activates the email, system sends out the email according to the interval you specified here. This function is very useful when there are too many emails activated by the abnormity events, which may result in heavy load for the email server.

Figure 4-112

Figure 4-113

###### FTP

You need to download or buy FTP service tool (such as Ser-U FTP SERVER) to establish FTP service.

Please install Ser-U FTP SERVER first. From “start” -> “program” -> Serv-U FTP Server -> Serv-U Administator. Now you can set user password and FTP folder. Please note you need to grant write right to FTP upload user. See Figure 4-114.

Figure 4-114

You can use a PC or FTP login tool to test setup is right or not.

For example, you can login user ZHY to H140H140H140HTUFTP://10.10.7.7UTH   and then test it can modify or delete folder or not.  See Figure 4-115.

Figure 4-115

System also supports upload multiple alarm panels to one FTP server. You can create multiple folders under this FTP.

In Figure 4-1049, select FTP and then double click mouse. You can see the following interface. See Figure 4-116.

- Please highlight the icon  in front of Enable to activate FTP function.

- Here you can input FTP server address, port and remote directory. When remote directory is null, system automatically create folders according to the IP, time and channel.

- User name and password is the account information for you to login the FTP.

- Now you can set upload file length, picture upload interval, upload file channel, time and type.

  - File length is upload file length. When setup is larger than the actual file length, system will upload the whole file. When setup here is smaller than the actual file length, system only uploads the set length and auto ignore the left section. When interval value is 0, system uploads all corresponding files.

  - At the same time, you can set two periods, three record files for different channels.

- Click the Test button, you can see the corresponding dialogue box to see the FTP connection is OK or not.  See Figure 4-117.

Figure 4-116

Figure 4-117

###### Alarm Centre

This interface is reserved for you to develop.

###### SNMP

SNMP is an abbreviation of Simple Network Management Protocol. It provides the basic network management frame of the network management system. The SNMP widely used in many environments. It is used in many network device, software and system.

You can set in the following interface. See Figure 4-118.

Figure 4-118

Please enable the SNMP function. Use the corresponding software tool (MIB Builder and MG-SOFT MIB Browser. You still need two MIB file: BASE-SNMP-MIB, DVR-SNMP-MIB) to connect to the device. You can get the device corresponding configuration information after successfully connection.

Please follow the steps listed below to configure.

- In Figure 4-118, check the box to enable the SNMP function. Input the IP address of the PC than is running the software in the Trap address. You can use default setup for the rest items.

- Compile the above mentioned two MIB file via the software MIB Builder.

- Run MG-SOFT MIB Browser to load the file from the previous step to the software.

- Input the device IP you want to manage in the MG-SOFT MIB Browser. Please set the corresponding version for your future reference.

- Open the tree list on the MG-SOFT MIB Browser; you can get the device configuration. Here you can see the device has how many video channels, audio channels, application version and etc.

Note

Port conflict occurs when SNMP port and Trap port are the same.

###### Network Priority

This interface is for you to set network priority. The default setup is PPPoE>WIFI>3G>LAN. See Figure 4-119. You can change if necessary.

Default gateway: It is to display current default gateway. It is to display PPPoE if PPPoE dial succeeded.

Priority: The value ranges from 0 to 3. 0 has the highest priority.

Name: It is to display network name. Use / to move current item up/down.

Note:

PPPoE always has the highest priority. You can change the priority of the rest three items.

Figure 4-119

###### Auto register

This function allows the device to auto register to the proxy you specified. In this way, you can use the client-end to access the alarm panel and etc via the proxy. Here the proxy has a switch function. In the network service, device supports the server address of IPv4 or domain.

Please follow the steps listed below to use this function.

Please set proxy server address, port, and sub-device name at the device-end. Please enable the auto register function, the device can auto register to the proxy server.

1) The setup interface is shown as in Figure 4-120.

Important

Do not input network default port such as TCP port number.

Figure 4-120

2) The proxy server software developed from the SDK. Please open the software and input the global setup. Please make sure the auto connection port here is the same as the port you set in the previous step.

3) Now you can add device. Please do not input default port number such as the TCP port in the mapping port number. The device ID here shall be the same with the ID you input in Figure 4-120. Click Add button to complete the setup.

4) Now you can boot up the proxy server. When you see the network status is Y, it means your registration is OK. You can view the proxy server when the device is online.

Important

The server IP address can also be domain. But you need to register a domain name before you run proxy device server.

#### Account

Here is for you to implement account management.  See Figure 4-121.  Here you can:

- Add new user

- Modify user

- Add group

- Modify group

- Modify password.

For account management please note:

- For the user account name and the user group, the string max length is 6-byte. The backspace in front of or at the back of the string is invalid. There can be backspace in the middle. The string includes the valid character, letter, number, underline, subtraction sign, and dot.

- System account adopts two-level management: group and user. System max supports 64 users and 20 groups.

- For group or user management, there are two levels: admin and user. One user should belong to one group. User right can not exceed group right.

- About reusable function: this function allows multiple users use the same account to login.

- About user account and MAC. When you add a new user, you can input the MAC address of current user. Only the user of the same MAC address can access the device remotely. (MAC address is for the device of the same LAN.) If you leave MAC address item in blank when you add a new user, the user of any MAC address can access the device remotely. You can set or change MAC address when you add or modify a user.  The MAC address function is also valid for PSS login. Please note current function does not support IPV6.

After all the setups please click save button, system goes back to the previous menu.

Figure 4-121

##### Modify Password

Click password button, the interface is shown as in Figure 4-122.

Here you can modify account password.

Please select the account from the dropdown list, input the old password and then input the new password twice. Click the Save button to confirm current modification.

For the users of user account right, it can modify password of other users.

Figure 4-122

##### Add/Modify Group

Click add group button, the interface is shown as below. See Figure 4-123.

Here you can input group name and then input some memo information if necessary.

There are total 60 rights such as control panel, shut down, real-time monitor, playback, record, record file backup, PTZ, user account, system information view, alarm input/output setup, system setup, log view, clear log, upgrade system, control device and etc.

The modify group interface is similar to the Figure 4-123.

Figure 4-123

##### Add/Modify User

Click add user button, the interface is shown as in Figure 4-124.

Please input the user name, password, user MAC address and select the group it belongs to from the dropdown list.

Then you can check the corresponding rights for current user.

For convenient user management, usually we recommend the general user right is lower than the admin account.

The modify user interface is similar to Figure 4-124.

Figure 4-124

When you create a new user, you can input the corresponding MAC address of current user. If you leave this item in blank, any MAC address user can share this user account to login. Please note system needs to check the validity of MAC. Only the 12-digit 0-f format address can pass the validity verification. System only saves small character even you input capitalized one. You can see the corresponding prompt if there is any illegal input.

#### HDD Manager

Here is for you to view and implement hard disk management. See Figure 4-125.

You can see current HDD type, status, capacity and record time. When HDD is working properly, system is shown as O. When HDD error occurred, system is shown as X.

- Alarm set: Click alarm set button, the interface is shown as below. See Figure 4-126. (This interface is just like the abnormity setup). Please refer to chapter 5.5.2 for detailed information.

- HDD operation: You can select HDD mode from the dropdown list such as read-only or you can erase all data in the HDD. Please note system needs to reboot to get all the modification activated.

Figure 4-125

Please highlight icon  to select the corresponding function.

Figure 4-126

For the HDD group setup operation, please note:

- Each channel’s records can be stored into the specified HDD Group.

- Each HDD Group is corresponding to several hard disks, while one hard disk is only included in one HDD Group.

- Each channel is only corresponding with one HDD Group, while one HDD Group can store records from several channels.

- HDD Group is only available for read-write HDD and self-defined disks, other types of hard disks cannot be set as HDD Group.

Important:

- Current series software version can only set the HDD group operation of the read-write HDDs. It is not for the redundancy HDD or read-only HDD.

HDD Setting

Click the button “HDD Settings” at the top right corner of the Figure 4-125, system will pop up an interface as below. See Figure 4-127.

- HDD: Here you can view the HDD amount the device can support. If there is a mark  in the front of the number, it means current position has installed a HDD.

- HDD Group: It lists the HDD Group number of current hard disk.

When you are setting the HDD Group, please check the box of the hard disk, and then choose the corresponding HDD Group number and save the settings.

Please note, one HDD is corresponding to one group, while one group can have many HDDs.  The HDD group No. is corresponding HDD port, the HDD group No. may vary if you change the HDD.

In Figure 4-127, you can see the system has one working hard disks ard disk belongs to HDD Group 1.

Important

Once you change the HDD Group settings, system will reboot!

Figure 4-127

Channels Setting

Click the button named with “Channels Settings” at the top right corner of the Figure 4-125, system will pop up an interface shown as in Figure 4-128.

Channel: Here you can view the actual channel amount of the device.

HDD Group No.: It is the SN in the HDD group management. Here we can set HDD 1 and HDD 2 sets to as HDD group 1 and HDD group 2 respectively. You can see the HDD group option has only two options 1 and 2 when you set corresponding HDD group of the channel.

When you set the channel setup, please select the corresponding channel such as 1 and 2, and then select the HDD group such as 1. Click the Save button, you can complete the setup.

In the Figure 4-128, you set to record files from all channels to HDD 1.

When you are setting the configurations of the channels setting, please select relevant channels first (such as channel 1 to 4), and then select the HDD Group NO. Please click the Save button to save current setup.

Important

- Once you change the HDD Group settings, system will pack the records and then reboot!

Tips

There is an easy way for you to test whether the records from the corresponding channel is saved in the specified HDD. You can remove the HDD and then check the channel can record or not. You can see the channel does not record and you can not search the previous record now.

Figure 4-128

Channel Quota

Please note only the product of the quota setup icon supports this function.

Here you can set channel storage capacity. See Figure 4-129.

Figure 4-129

Click Quota Setup button, you can go to Figure 4-130. Here you can set the each channel storage capacity in each HDD.

Figure 4-130

Click Quota Statistics, you can go to the following interface. You can view HDD capacity you set for each channel. See Figure 4-131.

Figure 4-131

#### Pan/Tilt/Zoom

The pan/tilt/zoom setup includes the following items. Please select channel first. See Figure 4-132.

- Protocol: Select corresponding PTZ protocol such as PELCOD.

- Address: input corresponding PTZ address.

- Baud rate: Select baud rate.

- Data bit: Select data bit.

- Stop bit: Select stop bit.

- Parity: There are three choices: none/odd/even.

After completed all the setups please click save button, system goes back to the previous menu.

For detailed setup, please refer to chapter 0 preset/patrol/pattern/scan.

Figure 4-132

#### Auto Maintenance

Here you can set auto-reboot time and auto-delete old files setup. You can set to delete the files for the specified days. See Figure 4-133.

You can select proper setup from dropdown list.

After all the setups please click save button, system goes back to the previous menu.

Figure 4-133

#### Config Backup

The configuration file backup interface is shown as below. See Figure 4-134.

This function allows you to import/export system configuration.  You can use this function when there are several devices need the same setup.

- Export: Please connect the peripheral device first and then go to the following interface.  Click Export button, you can see there is a corresponding “Config_Time” folder. Double click the folder, you can view some backup files.

- Import: Here you can import the configuration files from the peripheral device to current device.  You need to select a folder first. You can see a dialogue box asking you to select a folder if you are selecting a file. System pops up a dialogue box if there is no configuration file under current folder. After successfully import, system needs to reboot to activate new setup.

- Format: Click Format button, system pops up a dialogue box for you to confirm current operation. System begins format process after you click the OK button.

Note:

- System can not open config backup interface again if there is backup operation in the process.

- System refreshes device when you go to the config backup every time and set current directory as the root directory of the peripheral device.

- If you go to the configuration backup interface first and then insert the peripheral device, please click Refresh button to see the newly added device.

Figure 4-134

#### Default

Click default icon, system pops up a dialogue box. You can highlight  to restore default factory setup. See Figure 4-135.

Please highlight icon  to select the corresponding function.

After all the setups please click save button, system goes back to the previous menu.

Warning!

System menu color, language, time display mode, video format, IP address, user account will not maintain previous setup after default operation!

Figure 4-135

#### Shutdown

Double click shutdown button, system pops up a dialogue box for you to select. See Figure 4-136.

- Logout menu user: log out menu. You need to input password when you login the next time.

- Shutdown: system shuts down and turns off power.

- Restart system: system begins rebooting.

- Switch user: you can use another account to log in.

Figure 4-136

# WEB OPERATION

## Network Connection

Before web operation, please check the following items:

- Network connection is right

- Alarm panel and PC network setup is right. Please refer to network setup(Setup ->Network)

- Use order ping ***.***.***.***(* alarm panel IP address) to check connection is OK or not. Usually the return TTL value should be less than 255.

- Open the IE and then input alarm panel IP address.

- System can automatically download latest web control and the new version can overwrite the previous one.

- If you want to un-install the web control, please run uninstall webrec3.0.bat. Or you can go to C:\Program Files\webrec to remove single folder. Please note, before you un-install, please close all web pages, otherwise the un-installation might result in error.

- Current series product supports various browsers such as Safari, firebox browser, Google browser. Device only support 1-channel monitor on the Apple PC.

## Login

Open IE and input alarm panel address in the address column. For example, if your alarm panel IP is 10.10.3.16, then please input http:// 10.10.3.16 in IE address column. See Figure 5-1.

Figure 5-1

System pops up warning information to ask you whether install webrec.cab control or not. Please click yes button.

If you can’t download the ActiveX file, please modify your settings as follows. See Figure 5-2.

Figure 5-2

After installation, the interface is shown as below. See Figure 5-3.

Please input your user name and password.

Default factory name is admin and password is admin.

Then you can select the login mode: LAN and WAN.

Note: For security reasons, please modify your password after you first login.

Figure 5-3

## LAN Mode

For the LAN mode, after you logged in, you can see the main window.  See Figure 5-4.

Figure 5-4

## WAN Login

In WAN mode, after you logged in, the interface is shown as below. See Figure 5-5.

Figure 5-5

For detailed operation information, please refer to the User’s Manual included in the resources CD.

# KEYBOARD OPERATION

## Alarm Keyboard Operation Code

Please refer to the following contents for operation code:

The alarm keyboard supports three modes: Global mode, programming mode and search mode.

These three modes can not be valid at the same time. The default mode is global. After you exit the other two modes or the keyboard is idle for more than 5 minutes, system goes to global mode by default.

| Name | Note |
| --- | --- |
| Global mode | For this mode, it is for the whole alarm panel system. The main operations include: arm/disarm, cancel all alarms, alarm input/output/exit programming mode, enter/exit search mode, default and etc. |
| Programming mode | Primary key user and the installer user can enter the programming mode. The main operations include: add/delete/modify user, user authorities setup, network setup and etc. |
| Search mode | The primary key user and the installer user can go to the search mode. The main operations include: search alarm input/output channel, activated protection zone amount, channel alarm status, channel physical map, channel bypass status, system arm/disarm status, user amount, user exists or not, network port, IP address, subnet mask and gateway. |

Note

- The default user is the primary key user, the password is 1234. The installer user password is 01234. The hijacked user password is null.

- The primary key user has all authorities and can operate the alarm panel. The installer user can only go to the programming mode and search mode. The hijacked user can only arm/disarm.

- Three emergency events: Fire alarm, public security alarm, medical alarm and search mode are special operations. It can work in any mode.

- Alarm keyboard supports hot swap.

## Alarm Keyboard Special Operations

In any mode, you can operation the following actions.

### Fire Event

Operation: Press fire alarm button for 3 seconds.

### Public Security Event

Operation: Press public security button for 3 seconds.

### Medial Event

Operation: Press ［#］ button for 3 seconds.

### Search Device Mode

Operation: Press ［1］ + ［OK］

After press ［1］  and then select the corresponding system mode: Global/programming/search.

## Alarm keyboard global mode

### General Arm/Disarm

Operation: Press ［user password］ + ［*］ + ［0］ + ［OK］

For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［0］ + ［OK］

If the alarm panel is arming right now, it will switch to disarm mode. If the alarm panel is disarming, it will switch to arm mode.

Note

The keyboard arm light can display current arm/disarm status. When the status switches, it beeps once if it becomes to arm. It beeps twice if it becomes to disarm and there are some corresponding prompts.

### Hijacked arm/disarm

Operation:［Hijacked password］ + ［*］ + ［0］ + ［OK］

Note

Hijacked password arm/disarm will trigger hijack alarm.

The hijacked password refers to the password of user 099.

### Keyboard Cancel Alarm

After the keyboard triggers an alarm, you can use keyboard to cancel it too.

Operation:［user password］ + ［*］ + ［1］ + ［OK］

For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［1］ + ［OK］

Note

The keyboard can only cancel the protection zone alarm.

### Alarm Output

The alarm output has three modes；0=Auto alarm, 1= force alarm and 2=close alarm. The force alarm can generate an alarm output; you can use auto alarm or close alarm to close the force alarm.

The auto alarm operation:

［user password］ + ［*］ + ［2］ + ［n1］ + ［n2］ + ［OK］

Note

Video network alarm panel supports 4-channel alarm output. n1 refers to output channel number 1-4.  n2 refers to mode:0-auto alarm. 1-force alarm. 2-close.

### Default

Operation:［user password］ + ［*］ + ［3］ +［OK］

For example, if the user password is 1234, you need to input:

［1］ +［2］ +　［3］ + ［4］ + ［*］ + ［3］ +［OK］

The default function is for primary key user only.

Note

Video network alarm panel default items include: alarm, alarm output, keyboard, arm/disarm, main power is off, voltage is low, anti-tamper, telephone alarm centre, PSTN offline, network offline, IP conflict, MAC conflict, emergency alarm.

### Go to Programming Mode

Operation:［User password］ + ［*］ + ［4］ + ［OK］

For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［4］ + ［OK］

The programming mode is only for primary key user and installer user.

### Exit Programming Mode

Operation:［*］ + ［OK］

Please exit programming mode first if you wan to go to another mode.

### Go to System Search Mode

Operation:［user password］ + ［*］ + ［6］ + ［OK］

For example, if the user password is 1234, you need to input:

［1］ + ［2］ + ［3］ + ［4］ + ［*］ + ［6］ +［OK］

This mode is for primary key user and installer user only.

### Exit System Search Mode

Operation:［*］+ ［OK］

Please exit system search mode first if you wan to go to another mode.

## Alarm keyboard Programming Mode

Before you use the keyboard to program, please make sure you have entered keyboard programming mode.

### Add/modify user

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Programming address：000. |
| 2 | User serial number. Total supports 100 users. 000: Primary key user. 001: installer user. 002～099: The 2nd users. |
| 3 | User password. The password length ranges from 2 to 5. The primary key user can add/modify the 2nd user, but it can not modify the password of the installer user. After the installer user enters programming mode, it can change its own password. But it can not change the password of the primary key user and the 2nd user. |
| 4 | Command ends. |

### Delete User

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Programming user：001. |
| 2 | User serial number: 002～099. Only the primary key user can delete the 2nd user. Can not delete primary key user, installer user, hijacked user (099). |
| 3 | Command ends |

### Authorities

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Programming address：002. |
| 2 | User serial number，002～099. Primary key user, installer user, hijacked user (099) can not set their own authorities. |
| 3 | There are 14 user authorities 0：Arm./disarm 9：Cancel alarm 10：Alarm output 11：Programming mode 12：Restore default setup 13：Search mode |
| 4 | Command ends |

Note

- The primary key user has 0-13 authorities. The installer user only has 11 and 13 authorities. Authorities of primary key user, installer user and hijacked user (099) are read-only.

- The 2nd user can only have the 0-10 authorities.

### Local IP

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Alarm panel IP programming address：573. |
| 2 | The 1st unit |
| 3 | The 2nd unit. |
| 4 | The 3rd unit |
| 5 | The 4th unit. |
| 6 | Command ends |

Note

- IP address programming adopts 12-bit data. 1-12 refers to the alarm panel IP address.

- Each unit of the IP address adopts 3-bit setup mode. Input 0 to fill in the blank if it is less than 3-bit. For example, if the IP address is 192.2.28.66, you need to input 192 002 028 066.

### Local Port

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Local port programming address: 574. |
| 2 | Port value (10000-bit) |
| 3 | Port value (1000-bit) |
| 4 | Port value (100-bit) |
| 5 | Port value (10-bit) |
| 6 | Port value (1-bit) |
| 7 | Command ends |

Note

Port value ranges from 1025-65535.

### Subnet Mask

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Alarm panel subnet mask programming address: 575. |
| 2 | The 1st unit |
| 3 | The 2nd unit. |
| 4 | The 3rd unit |
| 5 | The 4th unit. |
| 6 | Command ends |

### Gateway

Programming command:

Please refer to the following sheet for detailed information.

| SN | Note |
| --- | --- |
| 1 | Host gateway programming address：576. |
| 2 | The 1st unit |
| 3 | The 2nd unit. |
| 4 | The 3rd unit |
| 5 | The 4th unit. |
| 6 | Command ends |

## Alarm Keyboard Search Mode

### Search Alarm Input/Output Channel No.

Programming command:

①  Programming address：200.

② Command ends.

Keyboard displayed data:

①  Displayed programming address：200.

②  Displayed input/output channel No.

### Search Triggered Protection Zone

Programming command:

①  Programming address：201.

②  Command ends.

Keyboard displayed data:

①  Displayed programming address：201.

②  Displayed triggered protection zone amount.

### Search Channel Alarm Status

Programming command:

① Programming address：202.

② Channel No.001～256.

③ Command ends

Keyboard displayed data

①  Displayed programming address：202。

②  Display channel alarm status：0=No alarm，1=Alarm

### Search Channel Physical Map Address

Programming command:

① Programming address：203.

②  Channel No.001～256.

③  Command ends

Keyboard displayed data

①  Displayed programming address ：203.

②  Display physical map address: slot/level1/level2.

Note

Physical map address: slot refers to node root SN. Level1 is the first cascade address and level2 is the second cascade address.

### Search Channel Bypass Status

Programming command:

① Programming address：204.

② Channel No. 001～256.

- Command ends

Keyboard displayed data

①  Display programming address：204.

- Display channel bypass status：0=normal，1=bypass，2=separate

### Search system arm/disarm status

Programming command:

① Programming address：206.

- Command ends

Keyboard displayed data

①  Display programming address：206.

②  Display system arm/disarm status：0=disarm，1=arm.

### Search user amount

Programming command:

①  Programming address：207.

②  Command ends.

Keyboard displayed data

①  Display programming address：207.

②  Display user amount 000～100.

### Search User Exists or not

Programming command:

①  Programming address：208.

②  User No. 000～099.

- Command ends.

Keyboard displayed data

①  Display programming address：208.

②  0=user does not exist，1=user exists.

### Search port No.

Programming command:

①  Programming address：209.

- Command ends

Keyboard displayed data

①  Display programming address：209.

②  Display port number.

### Search IP address

Programming command:

①  Programming address：210.

②  Command ends.

Keyboard displayed data

①  Display programming address：210.

- Display IP address.

### Search Subnet Mask

Programming command:

①  Programming address：211.

- Command ends

Keyboard displayed data

①  Display programming address：211.

②  Display subnet mask.

### Search Gateway

Programming command:

①  Programming address：212.

②  Command ends

Keyboard displayed data

①  Display programming address：212.

②  Display gateway

# Appendix Toxic or Hazardous Materials or Elements

| Component Name | Toxic or Hazardous Materials or Elements |
| --- | --- |
|  | Pb | Hg | Cd | Cr VI | PBB | PBDE |
| Sheet Metal(Case) | ○ | ○ | ○ | ○ | ○ | ○ |
| Plastic Parts（Panel） | ○ | ○ | ○ | ○ | ○ | ○ |
| Circuit Board | ○ | ○ | ○ | ○ | ○ | ○ |
| Fastener | ○ | ○ | ○ | ○ | ○ | ○ |
| Wire and Cable/AC Adapter | ○ | ○ | ○ | ○ | ○ | ○ |
| Packing Material | ○ | ○ | ○ | ○ | ○ | ○ |
| Accessories | ○ | ○ | ○ | ○ | ○ | ○ |

Note

O: Indicates that the concentration of the hazardous substance in all homogeneous materials in the parts is below the relevant threshold of the SJ/T11363-2006 standard.

X: Indicates that the concentration of the hazardous substance of at least one of all homogeneous materials in the parts is above the relevant threshold of the SJ/T11363-2006 standard. During the environmental-friendly use period (EFUP) period, the toxic or hazardous substance or elements contained in products will not leak or mutate so that the use of these (substances or elements) will not result in any severe environmental pollution, any bodily injury or damage to any assets.  The consumer is not authorized to process such kind of substances or elements, please return to the corresponding local authorities to process according to your local government statutes.

Note

- For detailed operation introduction, please refer to our resource CD included in your package for electronic version of the User’s Manual.

- Slight difference may be found in user interface.

- All the designs and software here are subject to change without prior written notice.

- All trademarks and registered trademarks mentioned are the properties of their respective owners.

- If there is any uncertainty or controversy, please refer to the final explanation of us.

- Please visit our website for more information.

# Text boxes

Input your IP address here.

1

2

3